## DELTA
ARTÍCULO | DESCRIPCIÓN | Inglés | PVP | NG DELTA 80 A 220/50 | NG DELTA 80 W 220/50 | NG DELTA 110A 220/50 | NG DELTA 110W 220/50 | NG DELTA 150 A 220/50 | NG DELTA 150 W 220/50 | MDP DELTA 150 AIRE MODULAR220/50 | MDP DELTA 150 W MODULAR 220/50 | MR400 A DELTA 400-50 III 220/50 | MR400 W DELTA 400-50 III 220/50 | MR400 A DELTA REMOTE 220/50
34 | TUBO CAPILAR 1'3 X 2'3 (0.02698 KM) | CAPILLARY TUBE 1,3 X 2,3 | 5.4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | TUBO CAPILAR 1'5 X 2'5(0,02958 K/Ml) | CAPILLARY TUBE 1.5 X 2.5 | 6.48 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | PIVOTE CIERRE | TOP COVER SECURING PEG | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | 6.48 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
67 | MACHON REDUCIDO 3/4 X 1/2 laton | FIXING 3/4 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
82 | REMATE BOCA DCHO | RIGHT DOOR GUARD | 36.93 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
83 | REMATE BOCA IZDO | LEFT DOOR GUARD | 45.37 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
105 | ABRAZADERA INOX 8-16/9W4 NORMA S/F | JUBILEE CLIP INOX 8-16/9W4 NORMA S/F | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
107 | JUNTA ARTICULACION | ARTICULATION JOINT | 3.24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 | CLIP REMATE BOCA | CLIP | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
155 | CASQUILLO EJE PUERTA NG NEGRO | DOOR AXE BUSHING | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
156 | TOPE COMPAS NG | DOOR BUMPER | 9.72 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | 11.61 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
247 | TORN. DIN 7985 M-5X25 INOX | SCREW DIN 7985 M-5X15 INOX | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
248 | TORN. DIN 965 M-5X15 INOX | SCREW DIN 965 M-5X15 INOX | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | 11.61 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
261 | TUERCA DIN 934 M-6 INOX | NUT M6 D934 STAINLESS | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
264 | ARANDELA DIN 125 M-5 INOX | WASHER STAINLESS M5 D125 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
274 | TERMOSTATO (PARO STOCK) | BIN THERMOSTAT | 36.93 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
285 | TUERCA DIN 934 M-8 ZINC | M8 GAL. NUT | 2.16 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
293 | VALV AGUA 3.5 B/3.5 B (1073) | WATER INLET VALVE | 31.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | 12.66 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
329 | VALV AGUA 3.5 B (1152) | INLET WATER VALVE | 15.83 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
334 | PRESOSTATO SEGURIDAD (30.3-21.7KG) | SAFETY PRESSURE SWITCH | 40.09 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
335 | VALVULA SCHRADER 1/4" CAP.S/LLAVE OBUS COMPLETO | VALVE FOR REFRIGERANT REFILL | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
336 | VISOR DANFOSS SGN 6s 1/4 SOLDAR 014-0148 | SIGHT | 50.64 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
364 | TUBO CRISTAL 20-25 ALIMENTARIO | GLASS TUBE 20-25 | 9.72 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
373 | PASACABLES 610-G | WIRE GUIDING 610-G | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
392 | TORN. DIN 912 M-6X16 INOX A2 | SCREW DIN 912 M-6X16 INOX A2 | 2.16 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
400 | REGLETA MAY 2 ELEM. TERM.6,35 RP4410007 | SEALED SPADE CONNECTOR 2 WAY | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
404 | VALV.AGUA 3.5 B/1 B (1151) | INLET WATER VALVE DOUBLE | 27.43 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
410 | MOTOR VENTILADOR 18W+PIE H84 220/50 | FAN 250-83 | 50.64 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
420 | GRASA MULTIFAK EP2 TEXACO | GREASE MULTIFAK | 39.04 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
424 | PRESOSTATO (OFF 16-ON 17 BAR) | CONDENSATION PRESOSTAT (FAN-WATER) | 65.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
425 | VALVULA PRESOSTATICA | WATER PRESOSTATIC VALVE | 344.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
426 | TUERCA SAE 3/8" (7010/33) | NUT SAE 3/8 | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
430 | UNION 3/8-SAE 3/8GAS RECT.MM | UNION 3/8 SAE 3/8 GAS STRAIGHT | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
444 | MOTOR VENTILADOR 5W+PIE H72 220/50 | 5W FAN 200 | 33.76 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
451 | SEPAR.PART.D.30x250 2S 3/8"(ACC2A30250) | "SEPAR.PART.D.30x250 2S 3/8""(ACC2A30250)" | 13.72 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
502 | PALA VENTILACION MOTOR CRZ | WATER PUMP FAN | 12.66 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
504 | ANILLA COMPRESION SCB 1853-224106 | COMPRESSION RING 5CB 1853-224106 | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
526 | INYECTOR PLANO DP | DP SPRAY NOZZLE | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | 22.16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
557 | TIRANTE LATERAL NG-40 | SIDE TENSE NG-40 | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
587 | PALA VENT. 172x34º ALUM.73806-2-3634 | FAN BLADE 172X34º | 6.48 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
589 | CONDENSADOR 8X3 2 VENT 5 W NP65 | CONDENSER DP70 | 285.91 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
605 | LAMA CORTINA INTERIOR (10mm) | INNER CURTAIN FLAP | 2.16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
606 | LAMA CORTINA EXTERIOR (25mm) | OUTER CURTAIN FLAP | 2.16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
626 | TUBO PVC 8-10 GRIS RIGIDO | PVP PIPE 8-10 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
666 | REMATE TUBO TERMOSTATO | THERMOSTAT JOINT | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
702 | MUELLE PUERTA NG | DOOR SPRING NG | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
731 | PASACHAPAS DIAMETRO 50 | HOLE BUSHING RING | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
843 | VALV.PARKER SOL 3/8"PM145.6IRSP V10S3 | HOT GAS VALVE | 131.88 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1
856 | PERFIL VINIGOM GRIS-3124- (PL1/109) | PERFIL VINIGOM | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
911 | DISTRIBUIDOR DE AGUA | WATER DISTRIBUTOR P6585145 | 21.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
914 | T SOLDAR 3/8 | T WELD 3/8 | 8.64 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
928 | VALV AGUA 3.5 B/LIBRE (1092)T&P00045 | WATER INLET VALVE (1COIL-2WAY) | 25.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
946 | BOLSA 145X182 FUELLE 34x34 G-300 | BAG 145*180 | 7.56 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
976 | CLIP EXPULSORA | EXPELLER CLIP | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
977 | V90-MODULO GALA REJILLA LATERAL | SIDE GRILL V90 | 18.99 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
1001 | COJINETE PUERTA NG NEGRO | DOOR BUSHING | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1015 | ESPIGA VALVULA PRESOSTATICA | PRESSOSTATIC VALVE CONNECTION | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
1028 | RESTRICTOR 3.5L/MIN VERDE VALV.ENT.W(1054) | WATER REGULATOR 3.5 L/M' | 6.48 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
1035 | VAVULA DE EXPANSION ORIF.6 | EXPANSION VALVE 0,68 404 | 106.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
1083 | RACOR PLAS "Y"12(QYPG121212)(MP145) | PLASTIC CONNECTER | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1312 | REDUCCION LATON 241G 3/4Gx1/2G M/H | BRASS REDUCTION 241G | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1365 | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | 27.43 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | 49.59 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1582 | DEFLECTOR GOTAS BOMBA EJE 8 | DEFLECTOR DROPS PUMP SHAFT 8 | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1599 | ARAND. DIN 127 M-6 GROVER ZINC | WASHER DIN 127 M-6 | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
1712 | FILTRO INOX 20X75 | STAINLESS STEEL FILTER | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1717 | DESHIDRATADOR 30GR 1E 2S 1/4"(SM330S309) | DRIER 30GR 1E 2S 1/4 | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1734 | BANCADA NG-70 | BASE NG 70 | 16.88 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1735 | PUENTE NG-70 | CHASSIS NG 70 | 16.88 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1736 | PILAR DELANTERO NG-70 DCHO | FRONT COLUMNE NG 70 RIGHT | 32.71 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1737 | PILAR DELANTERO NG-70 IZDO | FRONT COLUMNE NG 70 LEFT | 32.71 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1743 | MANGUERA 6X12 1450 (318) | PIPE 6X12 1450 (318) | 6.48 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1770 | PILAR TRASERO NG-70 | BACK PILAR NG-80 | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1775 | PILAR ACOMETIDAS NG-70 | SUPPORT FOR INLET PIPE NG 70 | 7.56 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1790 | FRENTE INFERIOR NG-70 | LOWER FRONT NG 70 | 37.98 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1807 | TRASERA NG-70 | BACK PANEL NG-70 | 11.61 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1826 | TE PLASTICO NORMA | "PLASTIC ""T"" (TS STANDARD)" | 5.4 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1850 | ARANDELA 40x13.5x5 Fe ZINCADA | WASHER 40X13X5 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1900 | LATERAL DCHO NG-70 | RIGHT PANEL NG80 | 55.92 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1901 | LATERAL IZDO NG-70 | LEFT HANDED PART NG 70 | 55.92 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1911 | TAPA BOMBA PEQUEÑA | SMALL PUMP TOP | 6.48 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1935 | BANDEJA FABRICACION NG-90 |  | 21.1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1938 | TAPA REGISTRO NG | PUMP COVER | 6.48 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2068 | TOPE REJILLA TRASERA | ELASTIC STOPPERS ON REAR GRILLE | 2.16 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2148 | TUBO IMPULSION BOMBA NG 40 | WATER PUMP DISCHARGE TUBE | 4.32 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | 32.71 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
2181 | HNG CAJA ELECTRICA | ELECTRIC BOX | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
2186 | REJILLA EXPULSORA NG-70 DP70 | ICE CUBES RAMP | 26.38 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2191 | TUBO IMPULSION BOMBA NG-90 | WATER PUMP PIPE NMNG | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
2192 | REJILLA TRASERA NG70 PINTADA | REAR GRILL | 13.72 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2222 | TUBO DESAGUE NG 40 | DRAIN TUBE | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2287 | INTERRUPTOR AZUL 22x30 BIPOLAR C/CAPUCHON UL SX825C18B1F210000 | ON/OFF SWITCH | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2300 | INTERRUPTOR SIGNAL LUX (SX81111811210000) | SWITCH B5 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2331 | ANGULO PUENTE NG-70 | ANGLE BRACKET NG80 | 3.24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | 2.16 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2433 | BAFLE CF21 | FAN SUPPORT | 15.83 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2440 | TUERCA FIJACION ITM (TOR 5'5) | PLASTIC NUT 5.5 | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
2452 | ARAND. DIN 127 M-8 GROVER ZINC | M 8 GAL GROVER WASHER | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
2507 | PRESOSTATO 15'5-18KG | CONDENSATION PRESSOSTAT | 74.91 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2520 | ARO PASACABLES 44'4 (15514) | GROMET | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
2560 | DESHIDRATADOR DML032S | DRIER FILTER DML032S 023Z4822 | 22.16 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
2593 | CONDENSADOR STFT 14245 | CONDENSER STFT 14245 | 188.85 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2681 | CUADRO ELECTRICO DP140 | ELECTRICAL SWITCHBOX DP140 | 184.63 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2683 | PRESOST. HTB-3UC47(29.3-24.5KG)UL | SAFETY PRESSOSTAT | 74.91 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0
2684 | REJILLA EXPULSORA DP 130 | ICE DEFLECTOR GRILLE DP140 | 55.92 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
2709 | NG150 TUBO NIVEL 125 MM (1387) | WATER LEVEL PIPE 130MM | 2.16 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3073 | VALVULA SEGURIDAD 1/4X3/8 (30bar) | VALV. SEC. 1/4X3/8 435IBS CR-01 FAV(KJ118) (30bar) | 166.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
3258 | BANCADA NG-90 | BASE NG-110 | 37.98 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3327 | VAL.PRESOS.W1/2" 3N 2100 WVFX | SWFTH PRESSOS. W1/2 3N 2100 WVFX | 445.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
3363 | + TUBO 3/8 CURV EVAP.MV200 | PIPE 3/8 | 11.61 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3397 | VALVULA CASTEL 6175/33 3/8 | SERVICE VALVE 3/8 | 54.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3398 | VALVULA CASTEL 6175/44 1/2 | CASTEL VALVE 1/2 | 64.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3421 | PUENTE NG-90 | CHASSIS NG110 | 88.62 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3434 | PILAR DELANT DCHO NG-90 | RIGHT FRONT PILAR NG110 | 37.98 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3435 | PILAR DELANTERO IZDO NG-90 | LEFT FRONT PILAR NG-110 | 37.98 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3436 | PILAR TRASERO NG-90 | BACK PILAR NG-110 | 5.4 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | 6.48 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3561 | BANCADA MDP | MDP BEDPLATE | 96.01 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3565 | CARTELA DCHA PUENTE MDP | RIGHT BRIDGE CARD. MDP | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3566 | CARTELA IZDA PUENTE MDP | LEFT BRIDGE CARD. MDP | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3570 | EXTERIOR CAIDA HIELO MDP (3570TC) | EXIT ICE MDP | 72.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3571 | INTERIOR CAIDA HIELO MDP (3571TC) | EXIT ICE MDPPS | 66.47 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3575 | LATERAL DCHO MDP | RIGHT PANEL MDP | 131.88 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3576 | LATERAL IZDO MDP | LEFT PANEL MDP | 131.88 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3577 | FRENTE MDP | FRONT PANEL MDP | 72.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3579 | TRASERA SUPERIOR MDP | REAR UPPER PANEL MDP | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3580 | TRASERA INFERIOR MDP | REAR LOWER PANEL MDP | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3634 | CURVA EVAP.P (6500 CR010X) 3/8"x22,9x24x0,5 | EVAPORATOR PART.(6500 CR010X) 3/8x22,9x24x0,5 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3713 | TUBO 1/4 RECTO U/C -25- | STRAIGHT COPPER TUBE 1/4 C/U -25- | 11.61 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
3746 | PILAR TRASERO ACOMETIDAS NG-90 | REAR INLET PIPE PILAR NG-110 | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3747 | TUBO 1/4 CURV. E/W DP55-70 -216- | WATER INLET PIPE 1/4 | 12.66 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0
3763 | CAPILAR 2500 mm 2.3 x1.3 | CAPILLARY TUBE 2,3*1,3 | 10.8 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3770 | FRENTE INFERIOR NG-90 | LOWER FRONT PANEL | 70.69 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3785 | TRASERA NG-90 | BACK PANEL | 31.65 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3805 | REJILLA EXPULSORA NG-90 | EJECT CUBE GRILL | 37.98 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3814 | RESISTENCIA PVC FLEX.920X5W 220V (FASTON 6.35H+FUNDA) | RESISTANCE PVC 220V (WHITE) | 12.66 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3924 | SOPORTE FILTRO MDP | MDP FILTER SUPPORT | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3929 | SOPORTE BOMBA MDP | MDP WATER PUMP SUPPORT | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3941 | FILTRO MALLA DIAM 50X50 | WIRE-MESH FILTER DIAM 50X50 | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3966 | TUBO 3/8 "L" 65EX260 |  | 6.48 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3969 | LATERAL DERECHO NG-90 | RIGHT PANEL NG-110 | 148.76 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3970 | LATERAL IZDO NG-90 | LEFT PANEL NG-110 | 55.92 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | 3.24 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | 3.24 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | 3.24 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4040 | PALA VENT. 200X28º ALUM.73808-2-3634 | FAN BLADE 200X28 PLASTIC | 7.56 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4041 | TUBO 1/4 CURV -LIQ NG90 | CURVED COPPER PIPE 1/4 -LIQ NG90 | 4.32 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4063 | REJILLA PLASTICO IQ85 NG-40 | FRONT LOUVER | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
4098 | TUBO SILICONA 55 MM | SILICON TUBE 60 MM | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4131 | MOTOR VENTILADOR 5W SIN PIE | FAN MOTOR 5W | 29.54 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4146 | RT OMEGA CUBIERTA NG 70-90 | BACK REINFORCEMENT NG-110 | 10.8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4147 | TUERCA DIN 934 M-10 ZINC | NUT DIN 934 M-10 ZINC | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4187 | REJILLA AIREACION NG140 | FRONT GRILL NG-150 | 13.72 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4188 | REJILLA AIREACION NG 70/90 | FRONT LOUVER NG | 12.66 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4193 | SOPORTE CORTINA NG-140 | COURTAIN SUPPORT NG-150 | 15.83 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4313 | BANCADA NG-140 | BASE PLATE NG-150 | 49.59 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4314 | PUENTE NG-140 | CHASSIS NG-150 | 84.4 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4315 | FRENTE INFERIOR NG-140 | LOWER FRONT PANEL NG-150 | 51.7 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4320 | TRASERA NG-140 | BACK PANEL NG-150 | 55.92 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4323 | REJILLA EXPULSORA NG-140 GALA/DELTA (16 DUCHAS) | CUBE EJECT GRILL NG-150 | 116.05 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4326 | OMEGA REFUERZO CUBIERTA NG-140 | REINFORCEMENT TOP COVER NG-150 | 23.21 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4376 | CONTACTOR MC-18b AC230V 50/60HZ | POWER RELAY CONTACTOR | 91.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
4425 | DESAGÜE REBOSADERO NG | DRAIN TUBE NG | 8.64 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1
4426 | REBOSADERO NIVEL NG | OVERFLOW PIPE | 11.61 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1
4427 | TAPA REBOSADERO NG | OVERFLOW PIPE CAP | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4429 | RODETE BOMBA EJE 8 DIAM 55 NG140 | PUMP PAD 8 DIAM 55 NG140 | 7.56 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4476 | RESTRICTOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | WATER REGULATOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | 5.4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4496 | JUNTA TORICA 17X2 BLANCA FDA CERTIFICADA | O-RING 17X2 SILICONE | 3.24 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1
4698 | PALA VENTILADOR BOMBA | FAN BLADE PUMP | 8.64 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4789 | BASE CUADRO ELECTRICO NG | ELECTRIC BOX SUPPORT | 8.64 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4790 | TAPA CUADRO ELECTRICO NG | ELECTRIC BOX COVER | 8.64 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4849 | REJILLA TRASERA NG 140 PINTADA |  | 12.66 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4859 | SUJECCION BOMBA NG-140 | PUMP FASTENING 140 | 8.64 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1
4913 | TAPA ASPIRACION BOMBA NG-140 |  | 24.27 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4984 | OMEGA PUENTE NG-90 |  | 9.72 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4985 | OMEGA PUENTE NG-140 UL | OMEGA SECTION NG 140/355 UL | 13.72 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4994 | PALA VENT. 254x34º ALUM.73815-2-3634 | FAN PADDLE | 14.77 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
5019 | COND.W (10V) 7.08M (REP=5246) | SPARE 5246 - CONDENSER W | 175.13 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5151 | CUADRO Y CABL.20M NG 220V CDC |  | 219.44 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | 29.54 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
5177 | REGLETA CONEXIONES | TERMINAL BLOCK | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
5237 | PUERTA NG-70 INOX | DOOR ASSEMBLY NG | 94.95 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5400 | BOMBA LARGA 87.5 RODETE 55P(MOT MA-VIB) | PUMP 87.5 TURBINE 55 | 188.85 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
5405 | BOMBA NG70 R-38 EJE 87.5 NG80 S/N: 14728273 | WATER PUMP 220V/50HZ | 116.05 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5406 | NG 70 TAPA EVAPORADOR | EVAPORATOR COVER | 27.43 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5422 | TUBO TERMOSTATO 650 NG 70 | THERMOSTAT TUBE | 4.32 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5491 | NG 90 TAPA EVAPORADOR | EVAPORATOR TOP COVER NG110 | 27.43 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5494 | BOMBA NG90 R-43 EJE 87.5 | WATER PUMP NG 110 | 144.54 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5827 | MDP 150 TAPA EVAPORADOR | MDP EVAPORATOR COVER | 52.75 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
5857 | PUERTA NG-140 INOX | DOOR NG-150 | 72.8 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
5929 | MONTAJE CORTINA NG-140 L:754 | CURTAIN ASSEMBLY NG-150 | 32.71 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
5933 | TUBO TERMOSTATO INOX NG-150 790MM | THERMOSTAT TUBE NG-150 | 8.64 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
6180 | CLIP PANEL HEMBRA NYLON | CLIP PANEL 14 (FEMALE) | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6181 | CLIP PANEL MACHO NYLON | CLIP PANEL 16 (MALE) | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6241 | CALDERIN 77x220 130.1073.A | LIQUIDE RECEIVER | 42.2 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
6357 | TAPA INFERIOR EXPULSORA MNG | BOTTON COVER MR | 14.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6361 | CUERPO BOMBA MNG | PUMP BODY MNG | 35.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6365 | RODETE BOMBA MNG | PUMP IMPELLER MNG | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6462 | DISTRIBUIDOR SPK 125 -330MM- (911) | WATER INLET | 11.61 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6526 | TUBO PVC 16-18 NSF-ABS 40MM | PVC TUBE 16-18 NSF-ABS 40 MM | 7.56 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
6796 | TORNILLO MOLETEADO M-5 INOX | KNURLED SCREW M-5 INOX | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | 15.83 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6981 | VALV AGUA LIBRE B/LIBRE B 220V/50-60HZ | WATER INLET VALVE B 220V/50-60HZ | 14.77 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
7095 | EVAPORADOR 40GR NG90/60 TERMINADO | EVAPORATOR40GR NG90/60 | 448.38 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7128 | CUBA STOCK NG DP70 (7128CO) | STOCK BIN NG-80 | 182.52 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7175 | R404 NG70 ASP-CAP |  | 25.32 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7252 | EVAPORADOR 40GR NG70/48 TERMINADO | EVAPORATOR40GR NG70/48 | 344.99 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7322 | CUBA STOCK NG DP90 (7322CO) | STOCK BIN NG-110 | 194.12 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7335 | COLECTOR NG-70(12DUCHAS)TERM.(561.5) | SPRAY BAR | 42.2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7350 | COLECTOR NG-90(12DUCHAS)TERM.(561.5) | WATER DISTRIBUTOR TUBE WITH NOZZLES 90 | 42.2 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
7363 | PUENTE MDP 150 SOLDADO | MDP WELDED BRIDGE | 198.34 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
7365 | CUBA MDP TERMINADA (7365CO) | MDP INSULATED BIN | 241.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
7437 | EVAPORADOR 40GR NG 140/96 TERMINADO | EVAPORATOR 40GR NG150 | 771.21 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7485 | COLECTOR NG-140(16DUCHAS)TERM.(774) | WATER DISTRIBUTOR TUBE WITH NOZZLES 150 | 155.09 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7487 | CUBA STOCK NG-140 TERMINADA (7487CO) | STOCK BIN NG-150 | 301.73 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7488 | R404 NG150 ASP-CAP |  | 35.87 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7764 | CONECTOR INTERRUPTOR SX82CNT1 | SWITCH SX82CNT1 | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7769 | SEPARADOR ASPIRACION 75X395 1/2-1/2-3/4 | SUCTION SEPARATOR 75X395 1/2-1/2-3/4 | 99.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7842 | COMPRESOR TAG4561Z "T" 400/440-50/60HZ TUBOS (112.5CC) | "COMPRESSOR TAG4561Z ""T"" 400/440-50/60HZ TUBOS (112.5CC)" | 1691.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7847 | BOMBA MRNG | PUMP MRNG | 262.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7849 | EJE CORTINA MRNG L=715 | CURTAIN AXE MRNG | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7851 | REFUERZO CORTINA MRNG | CURTAIN REINFORCEMENT MRNG | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7852 | CONJUNTO CORTINA MRNG 400 | CURTAIN ASSEMBLY MRNG400 | 48.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7864 | PANEL FRONTAL DISPLAY MRNG | FRONT DISPLAY PANEL MRNG | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7881 | CUADRO Y CABLEADO MRNG | ELECTRICAL SWITCHBOX MRNG | 371.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7936 | TAPA EVAPORADOR MR-400 | TOP COVER EVAPORATOR MR400 | 65.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7999 | VALVULA EXPANSION TUB ORIF.7 3/8X1/2 ODF | VALV.EXP. TUB 068U2100 ORIF.7 3/8X1/2 ODF | 144.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8099 | TUBO TERMOSTATO INOX MR400 | THERMOSTAT TUBE INOX MR400 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8226 | PRESOSTATO BAJA ACB-2UA616 (0.5-2 BAR) | SAFETY PRESSURE SWITCH | 29.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8251 | SOPORTE VALVULAS MR-400 REMOTA |  | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8310 | CONDENSADOR DE AGUA VERTICAL CON CALDERIN CV-14 | CONDENSER W (VERTICAL) | 1208.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8314 | CONEXION HEMBRA 1" | "FAMEL CONNECTION 1""" | 40.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
8418 | SOPORTE VALVULA PRESOSTATICA MR | MR PRESSURE VALVE SUPPORT | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8438 | COMPRESOR AE4470Z "FZ" 12.1CC 220/240-50HZ (AE-1016-FR-M) | COMPRESSOR AE4470Z FZ 12.1CC 220/240-50HZ | 416.73 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8461 | PANEL DISPLAY NEGRO COMPLETO | DISPLAY BLACK | 208.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8471 | CAPSULA CIERRE TUERCA 3/8" (222371) | CLOSED CAPSULE 3/8 | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8478 | CAPILAR 1.2 X 2.2 X 900 | CAPILLARY 1.2 X 2.2 X 900 | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8479 | CODO GALV. H 1" - H 3/4" | PIPE GALV. H 1- H 3/4 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
8639 | DEFLECTORA ENTRADA AGUA MR-400 | EJECT WATER INLET MR | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8712 | CHAPA ALZA CONDENSADOR / VENTILADOR | CONDENSER / FAN RAISING SHEET | 3.24 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | 12.66 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30022 | SONDA NTC 10K IP68 INOX 6X50 (SN8T6N1502) | SENSOR NTC 10K IP68 INOX 6X50 (SN8T6N1502) | 22.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30054 | REFUERZO CUBA INTERIOR MR | BIN SUPPORT MR | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30087 | JUEGO TAQUETS PROGRAMADOR CDC | CDC PROGRAMMER TAP GAME | 6.48 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
30211 | SEPAR.PART.D.30x345 3/8- 3/8 (2A) | PARTICLESSEPAR.PART.D.30x345 3/8- 3/8 (2A) | 13.72 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
30239 | TRASERA P. FRIA MRNG INOX | REAR COLD P. MRNG INOX | 89.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30240 | TRASERA P.CALIENTE MRNG INOX | REAR HOT STORE MRNG INOX | 42.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
30300 | LAMA EXTERIOR DOBLE LARGA | DOUBLE LONG EXTERNAL LATTICE | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
30308 | MUELLE SUJECION FILTRO BOMBA | FILTER PUMP FASTENING SPRING | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30309 | FILTRO BOMBA MRNG | MRNG PUMP FILTER | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30439 | COMPRESOR CAJ9510Z (AJ2) "F" 18.3CC 220/240-50 (AJKZB1JF603A06-M) | COMPRESSOR CAJ9510Z (AJ2) F 18.3CC 220/240-50 | 733.23 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30610 | CUBIERTA ELECTROVALVULAS NG150 | ELECTROVANNE COVER 150 | 6.48 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
30681 | RAMPA CAIDA HIELO MR | ICE FALL RAMP MR | 16.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30722 | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30740 | LATIGUILLO FLEXIBLE 3/4 M.H 50 cm | FLEX. CONEXION 3/4 M.H 50 cm | 22.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
30789 | ARANDELA BASE DUCHA MR | SPRAY NUZZLE WASHER | 1.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30861 | TAPA CAJA ELECTRICA MS C/CONECTORES | ELECTRIC BOX COVER | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30877 | CAPSULA CIERRE TUERCA 1/2" (222372) | CLOSED CAPSULE 1/2 | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
30942 | FILTRO 19x70 3/8-3/8" C/T | "FILTER 19x70 3/8-3/8"" C/T" | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
30944 | VENTILADOR EC P300 200-240V/50-60HZ S1G300-FO01-01 | FAN EC P300 200-240V/50-60HZ S1G300-FO01-01 | 285.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
31182 | U TABIQUE CUBA NG140 |  | 13.72 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1
31372 | EVAPORADOR 40GR MAX NG 140/96 TERMINADO | EVAPORATOR 40GR MAX NG 140/96 FINISHED | 448.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
31738 | SOPORTE CORTINA NG DP70 40GR | CURTAIN HOLDER NG | 11.61 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32044 | EVAP. 40GR MDP150/84 TERMINADO |  | 746.94 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32102 | VALVULA RPV-100 220V/50-60HZ | VALVE RPV-100 220V/50-60HZ | 196.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
32672 | TUBO PVC 8-10 30mm | OVERFLOW PIPE EVAPORATOR P6585145 | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
32731 | CONDENSADOR 11X3 2V P254 T1/4 | CONDENSER 11X3 2V P254 T1/4 | 193.07 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
32887 | MONTAJE CORTINA NG DP70 40GR | CURTAIN ASSEMBLY NG | 32.71 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33214 | TRASERA P. CALIENTE MRNG REMOTA INOX | REAR SIDE (WARM) MR (REMOTE) | 47.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
140A | COMPAS PUERTA NG DCHO | DOOR RIGHT COMPASS NG MODELS | 28.49 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
141A | COMPAS PUERTA NG IZDO | DOOR LEFT COMPASS NG MODELS | 28.49 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
153A | TERMOSTATO (CICLO) | CYCLE THERMOSTAT ATB-X367 | 39.04 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
1791A | FRENTE SUPERIOR NG-70 |  | 18.99 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1792A | CUBIERTA NG-70 | TOP PANEL | 39.04 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1938G | TAPA REGISTRO GRIS | GRAY REGISTRATION COVER | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30237A | CUBIERTA MRNG V.INOX | COVER MRNG V. INOX | 158.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
3064B | DESHIDRATADOR 3/8"S | DRIER DML083S 3/8 S (23Z4570) | 49.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30755B | CONJUNTO SOLDADO INTERCAMBIADOR D35x360 | WELDED EXCHANGER ASSEMBLY D35x360 | 68.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
3267A | COND.AGUA 6V TUBO 22 (DIAM 250) | CONDENSER W MV200 | 644.61 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3570TC | EXTERIOR CAIDA HIELO MDP TERMOCONFORMADO | OUTSIDE ICE FALL THERMOFORMED MDP | 64.36 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3571TC | INTERIOR CAIDA HIELO MDP TERMOCONFORMADO | INTERIOR ICE FALL THERMOFORMED MDP | 63.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3773A | CUBIERTA NG-90 |  | 43.26 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
380C | PROGRAMADOR 20' 220/50 C/TAQ.(2 MICROS) | 20' TIMER | 83.35 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4316A | FRENTE SUPERIOR NG-140 |  | 23.21 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4317A | CUBIERTA NG-140 |  | 51.7 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
448A | FILTRO 18x60 1/4-1/4" C/T | FILTER 18x60 1/4-1/4 C/T | 14.77 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4513A | TERMOSTATO EVAP. | EVAPORATOR THERMOST. | 35.87 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4864C | PROGRAMADOR 15' 220/50 C/TAQ.(2 MICROS) | TIMER 15 220/50-60HZ | 67.52 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5928A | NG 140 TAPA EVAPORADOR | EVAPORATOR TOP COVER NG-150 | 41.15 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6360A | INYECTOR MNG (A) | NUZZLE MNG | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6469A | CONDENSADOR 32X4 MNG-400 | SPARE - CONDENSER 32*4 | 737.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
6488A | TUBO IMPULSION MNG | MNG IMPULSION PIPE | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6671A | CABLEADO NG 220V |  | 48.53 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7476E | MINI PRESOSTATO 16-18 BAR | CONDENSATION PRESSURE SWITCH 16-18 | 18.99 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7773A | CUBA FABRICACION MNG TERMINADA (7773ACO) | CUBA MNG MANUFACTURING COMPLETED (7773ACO) | 177.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7845A | COJINETE DUCHA MRNG V2 | SHOWER NOZZLE BEARING MRNG | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7846A | CONJUNTO BRAZO DUCHA MRNG V2 | NOZZLE ASSEMBLY MRNG V2 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7853A | SOPORTE EVAPORADOR MRNG | MRNG EVAPORATOR SUPPORT | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
7882C | PLACA CONTROL MRNG C/PILA C/CONECTORES | PCB MRNG WITH CONNECTORS | 163.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8090A | CONJUNTO PANEL FRONTAL MNG | MNG FRONT PANEL ASSEMBLY | 274.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8097A | MONTAJE ENTRADA AGUA MR400 AIRE | MR400 AIR WATER INLET ASSEMBLY | 37.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8389A | EXPULSORA MR COMPLETA EJE INOX | EJECTOR MR COMPLETE STAINLESS STEEL SHAFT | 232.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1