## IQ R290
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | IQ 50C A R290 220/50 | IQ 50C W R290 220/50 | IQ 90C A R290 220/50 | IQ 90C W R290 220/50 | IQ 180C A R290 220/50 | IQ 180C W R290 220/50 | IQ 180 A R290 220/50 | IQ 180 W R290 220/50 | IQ 230 A R290 220/50 | IQ 230 W R290 220/50 | IQ 450 A R290 220/50 | IQ 450 W R290 220/50 | IQ 650 A R290 220/50 | IQ 650W R290 220/50
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
31 | TUBO CAPILAR 1 X 2 (44.8M=1K)(0.02232KM) | CAPILLARY TUBE 1 X 2 | TUBO CAPILLARE 1 X 2 (47.55 M = 1 K) (0.02103 KM) | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
39 | PIVOTE CIERRE | TOP COVER SECURING PEG | PERNO CHIUSURA RAPIDA | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
47 | TUERCA 506-3B 213050-2 (5280) DELTATONE | NUT 506-3B | DADO 506-3B 213050-2 (5280) DELTATONE | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
75 | RETEN 18X24X4 DOBLE LABIO | DOUBLE LIP SEAL | ANELLO DOPPIA TENUTA | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | V-RING TWVA00200 (EJE 20) | V-RING TWA00200 (AXLE 20) | V-RING TWA00200 (ASSE 20) | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 | REMATE BOCA DCHO | RIGHT DOOR GUARD | COPERTURA BOCCA DESTRA | 39 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 | REMATE BOCA IZDO | LEFT DOOR GUARD | COPERTURA BOCCA SINISTRA | 48 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 | JUNTA TORICA 32X2 | O-RING 32X2 | GUARNIZIONE OR 32.2 | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 | TAPON GPN 300 F21 | CAP | TAPPO GPN 300 F21 | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 | ABRAZADERA INOX 8-16/9W4 NORMA S/F | JUBILEE CLIP INOX 8-16/9W4 NORMA S/F | FASCETTA INOX 8-16 / 9W4 STANDARD S / F | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
109 | PLATO/BRIDA IQ TUBO 40 | FLANGE/PLATE IQ 45-85 | PIASTRA / FLANGIA IQ TUBE 40 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155 | CASQUILLO EJE PUERTA NG NEGRO | DOOR AXE BUSHING | BUSSOLA ALBERO PORTA NG NERA | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
156 | TOPE COMPAS NG | DOOR BUMPER | FERMO PORTA NG | 10 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 | PILAR DELANTERO NG-40 DCHO (159RB) | RIGH SIDE FRONT COLUMN | PILASTRO ANTERIORE NG-40 DESTRA | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
160 | PILAR DELANTERO NG-40 IZDO (160RB) | FRONT COLUMNE LEFT SIDE | PILASTRO ANTERIORE NG-40 SINISTRA | 20 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
171 | CASQUILLO PUERTA | BUSHING | SEPARATORE | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
211 | BRIDA ENT.AGUA IQ TUBO 40 (211CT) | INLET WATER FLANGE | FLAG ENT.AGUA IQ TUBE 40 | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
247 | TORN. DIN 7985 M-5X25 INOX | SCREW DIN 7985 M-5X15 INOX | VITE DIN 7985 M-5X25 INOX | 12 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | VITE DIN 933 M-5X10 INOX | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | DADO DIN 934 M-5 INOX | 12 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | DADO DIN 934 M-4 INOX | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
261 | TUERCA DIN 934 M-6 INOX | NUT M6 D934 STAINLESS | DADO DIN 934 M-6 INOX | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
263 | ARANDELA DIN 125 M-6 INOX | WASHER STAINLESS M6 D 125 | RONDELLA DIN 125 M-6 INOX | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | VITE DIN 7981 4.8*12.7 INOX A2 | 3 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
279 | TORN. DIN 912 M-8X30 8.8 ZINCADO | SCREW M8*30 | VITE ZINCADO DIN 912 M-8X30 | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
285 | TUERCA DIN 934 M-8 ZINC | M8 GAL. NUT | DADO DIN 934 M-8 ZINCO | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
288 | ARANDELA DIN 125 M-8 ZINC | M8 GAL WASHER | RONDELLA. DIN 125 M-8 ZINCO | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | TUBO CRISTAL 4-6 C0403 / CL / 0030 / CD | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
329 | VALV AGUA 3.5 B (1152) | INLET WATER VALVE | ELETTROVALV. ACQUA 3.5 B | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
355 | RESORTE ENT AGUA Q20-30-40 0.8M/M | WATER INLET RESORT | MOLLA ENTR. AQUA 20-30-40 0.8mm | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 11 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
389 | TUBO CRISTAL 12-15 C1201/CL/0030/CD | GLASS TUBE 12-15 | TUBO CRISTAL 12-15 C1201 / CL / 0030 / CD | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
392 | TORN. DIN 912 M-6X16 INOX A2 | SCREW DIN 912 M-6X16 INOX A2 | VITE DIN 912 M-6X16 INOX A2 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
418 | FRENTE INFERIOR NG-40 (418CT) | LOWER PANEL NG-40 | ANTERIORE INFERIORE NG-40 | 23 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
420 | GRASA LÍTICA ALTA PRESIÓN EP2 | GREASE MULTIFAK | GRASSO MULTIFAK EP2 TEXACO | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
478 | &LINGOTE ESTAÑO 60% (LINGOTILLOS)-ASTM-B-32 | TIN INGOT | & LINGOTE STAGNO 60% (LINGOTILLOS) -ASTM-B-32 | 177 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
487 | CONDENSADOR Q6V 8X4 C/B | AIR CONDENSER 8X4 | CONDENSATORE Q6V 8X4 C/B | 182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
491 | CONDENSADOR P-25-35 8X3 S/B | CONDENSER P-25-35 8X3 S/B | CONDENSATORE 8X3 | Consultar/Consult | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
614 | TAPON UNIVERSAL PULSAR | STANDARD STOPPER | TAPPO UNIVERSALE PULSAR | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1
626 | TUBO PVC 8-10 GRIS RIGIDO | PVP PIPE 8-10 | TUBO IN PVC GRIGGIO RIGIDO 8-10 | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
636 | TUBO CAPILAR 0'8 x 2 (0.02491 KM) | CAPILLARY TUBE 0.8 X 2 | TUBO CAPILLARE 0'8 x 2 (0.025KM) | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
666 | REMATE TUBO TERMOSTATO | THERMOSTAT JOINT | FISSAGGIO TUBO TERMOSTATO | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
702 | MUELLE PUERTA NG | DOOR SPRING NG | MOLLA SPORTELLO NG | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
719 | TORN. DIN 912 M-12X30 12.9 ZINC | SCREW M12*30 | VITE ZINCO DIN 912 M-12X30 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
720 | CUBA STOCK IQ-85 AZUL | STOCK BIN IQ85 (7380) | STOCK BASCA IQ-85 | 30 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
725 | RETEN 25X32X7 DOBLE LABIO | SEAL 25X32X7 | TENUTA 25X32X7 | 13 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
726 | RETEN 45X58X7 DOBLE LABIO | SEAL 45X58X7 | TENUTA 45X58X7 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
731 | PASACHAPAS DIAMETRO 50 | HOLE BUSHING RING | PASSACAVO DIAMETRO 50 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
766 | REJILLA DESAGUE LAVABO | BIN DRAIN GRILL | GRIGLIA DI SCARICO LAVANDINO | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | SCARICO CUVA BIANCO | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
785 | DRENAJE BOCA IQ-85 | DRAINAGE IQ | SCARICO BOCCA IQ-85 | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
803 | FIJACION EJE SRR-5 REF.211009-7 | FIXING DOOR ACHSE | FISSAGGIO ASSIALE SRR-5 REF. 21009-7 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
806 | TUBO CRISTAL 15-20 ALIMENTARIO TUBCLAIR | PIPE 15X20 PUMP-DISTRIBUTOR | TUBO CRISTAL 15.20PER ALIMENTI TUBCLAIR | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | FASCETTA PEER TUBO RICH 101 (11.9-13.5) | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
856 | PERFIL VINIGOM GRIS-3124- (PL1/109) | PERFIL VINIGOM | PROFILO VINIGOM GRIGGIO-3124- (PL1 / 109) | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
894 | HUSILLO IQ-475 EJE 32 | AUGER IQ550 | ALBERO IQ-475 32 | 1724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
952 | TUERCA CUADRADA PATA | SQUARE NUT FEET | MADREVITE CUADRATA PIEDE | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
953 | PATA ROSCADA MACHO | INTERMEDIARY FEET | PIEDE FILETATO MASCHIO | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
954 | SUPLEMENTO PATA (HEMBRA) | FEET COMPLEMENT (FEMALE) | SUPPLEMENTO PIEDINO(FEMMINA) | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
960 | MOTOR VENTILADOR 10W+PIE 220/50 | FAN MOTOR 10W H52 220/50 | VENTILATORE 200-58 | 60 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1001 | COJINETE PUERTA NG NEGRO | DOOR BUSHING | BUSSOLA PORTA NG NERA | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1006 | JUNTA TORICA 8X3 | O-RING 8X3 | GUARNIZIONE TORICA 8X3 | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1008 | BRIDA BOCA EVAPORADOR IQ NG TUBO 40 | EVAPORATOR FLANGE | FLANGIA BOCCA EVAPORATORE IQ NG TUBE 40 | 7 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1053 | BOCA SALIDA CUBA IQ NG | OUTLET ICE TUBE | BOCCA USCITA BASCA IQ NG | 66 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1111 | ALARGADERA 5X1.5X2500 FASTON-PELADO | EXTENSION 5*1 | ALARGADERA 5X1.5X2500 FASTON-PELADO | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1123 | BASCULANTE PUERTA IQ NG | DOOR SUPPORT IQ NG | PORTA A BATTENTE IQ NG | 9 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1306 | IQ 135 S-60 SOPORTE CONO (1306RB) | DISPERSION CONE SUPPORT S-60 | SUPPORTO CONNO QI 135 S-60 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1332 | IQ 135 S-60 DEFLECTORA HIELO (1332RB) | ICE DEFLECTOR IQ135 S-60 | DEFLETTORE DI GHIACCIO IQ 135 S-60 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1390 | ANILLO SEG. INTERIOR D18 DIN 472 INOX | INNER RING | ANELLO SEC INTERNO D18 DIN 472 INOX | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1391 | JUNTA TORICA 28.24X2.62 | O-RING 28.24X2.62 | SCHEDA TORICA 28.24X2.62 | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 7 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1599 | ARANDELA DIN 127 M-6 GROVER ZINC | WASHER DIN 127 M-6 | Arand. DIN 127 M-6 GROVER ZINCO | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1673 | VALV AGUA 1B (1146) 220/50-60Hz | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA 1B | 18 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1674 | VALV AGUA 1 B/ 1 B (1147) 220/50-60Hz | WATER VALVE 1B/1B | ELETTROVALV. ACQUA 1B/1B | 25 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1690 | PALET NG-40 SIN PATAS IQ85 | PALLET NG 40 WITHOUT FOOT | NG-40 PALLET SENZA PIEDINI IQ85 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1696 | -Y- BANCADA NQ 34-5 PS 45 (1696CT) | BASE NQ IQ CD PS | -Y- PIASTRA DI BASE NQ 34-5 PS 45 | 38,00 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1704 | GUIA PUERTA DCHA. DP40--140 | RIGHT DOOR GUIDE P65-85 | GUIDA SPORTELLO DESTRO.DP40-140 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1705 | GUIA PUERTA IZDA. DP40--140 | LEFT DOOR GUIDE P65-85 | GUIDA SPORTELLO SINISTRO.DP40-140 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1715 | TOPE PUERTA CORREDIZA | SLIDING DOOR STOPPER | FERMO SPORTELLO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1716 | RUEDA SEPARADOR PUERTA CORREDIZA | SLIDING DOOR WHEEL | BUSSOLA SPORTELLO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1728 | &REJILLA TRASERA NG40 PINTADA | REAR GRILL | & GRIGLIA POSTERIORE NG40 VERNICIATA | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1850 | ARANDELA 40x13.5x5 Fe ZINCADA | WASHER 40X13X5 | RONDELLA 40x13,5x5 Fede ZINCADA | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1905 | ARANDELA DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | WASHER DIN 125 M-6 | Arand. DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2068 | TOPE REJILLA TRASERA | ELASTIC STOPPERS ON REAR GRILLE | FERMO GRIGLIA POSTERIORE | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2093 | JUNTA PLANA COBRE 5X9X1.5 | WASHER M5X10X1.5 | GUARNIZIONE PIANA RAME 5X9X1,5 | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2094 | JUNTA PLANA COBRE 6X12X1.5 | WASHER M6X12X1.5 | GUARNIZIONE PIATTA RAME 6X12X1.5 | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2108 | IQ 135 S-60 LATERAL DCHO (2108CT) | RIGHT PANEL IQ135-S60 | IQ 135 S-60 FIANCO DESTRO | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2109 | IQ 135 S-60 LATERAL IZDO (2109CT) | LEFT PANEL IQ135 S-60 | IQ 135 S-60 FIANCO SINISTRO | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2110 | IQ 135 S-60 REFUERZO DELANTERO (2110CT) | FRONT REINFORCEMENT IQ135 S-60 | RINFORZO ANTERIORE IQ 135 S-60 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2116 | IQ 135 S-60 TRASERA (2116CT) | REAR PANEL IQ135 S-60 | IQ 135 S-60 POSTERIORE | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2120 | IQ 135 S-60 FRENTE INF (2120CT) | FRONT PANEL IQ135 S-60 | IQ 135 S-60 ANTERIORE INF | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | MOTOVENTILATORE 5 W+PIE H52 220/50 | 35 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2245 | HUSILLO IQ-135 (C/CHA.BAND) | AUGER IQ135/150 | COCLEA IQ-135 (C / CHA.BAND) | 839 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2256 | JUNTA TORICA 50X3(COJ.INF. =175) | O-RING BEARING 50X3 | GUARNIZIONE O-RING 50X3 (GIUNTO INF = 175) | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2334 | JUNTA V-RING VRA-32(COJ.INF. =175) | V-RING | GUARNIZIONE V-RING VRA-32 (GIUNTO.INF. = 175) | 13 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2335 | JUNTA V-RING | V-RING | GUARNIZIONE GIUNTO INF.V-RING VRA-55 (= 355) VA55-2 P049 TT0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2432 | REMACHE GALV. M-5X12 HEX.CAB.REDUC. | RIVET | RIVETTO ZINC. M-5X12 HEX.CAB.REDUC. (PSZROH-0525-250) | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
2440 | TUERCA FIJACION ITM (TOR 5'5) | PLASTIC NUT 5.5 | INSERTO IN PLASTICA ITM 5.5 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2441 | IQ 135 TUBO CAIDA HIELO (300MM) | OUTLET ICE TUBE IQ135-150 | IQ 135 TUBO CADUTA GHIACCIO (300MM) | 19 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2443 | IQ 355 TUBO CAIDA HIELO (430MM) | OUTLET ICE TUBE IQ355 | IQ 355 TUBO CADUTA GHIACCIO (430MM) | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
2444 | IQ 475-1100 TUBO CAIDA HIELO (577MM) | OUTLET ICE TUBE IQ550 | IQ 475-1100 ICE FALL TUBE (577MM) | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2447 | ABRAZADERA TUBO 70X70 (2447CT) | JUBILEE CLIP 70X70 | FASCETTA TUBO 70X70 | 9 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2449 | TORN. DIN 933 M-8X10 INOX A2 | SCREW M 8X10 INOX | VITE DIN 933 M-8X10 INOX A2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2452 | ARANDELA DIN 127 M-8 GROVER ZINC | M 8 GAL GROVER WASHER | RONDELLA. DIN 127 M-8 GROVER ZINCO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2455 | IQ 175 TAPA SOPORTE BRIDA SUPERIOR | FLANGE SUPPORT IQ135/150/200 | COPERCHIO SUPPORTO FLANGIA IQ 175 | 9 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2477 | IQ 355 TAPA SOPORTE BRIDA SUPERIOR (2477CT) | FLANGE SUPPORT IQ400/550/1100 | COPERCHIO SUPPORTO FLANGIA IQ 355 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
2484 | JUNTA TORICA 75X3(COJ.INF. =355) | O-RING BEARING 75X3 | GUARNIZIONE O-RING A 75X3 (GIUNTO INF. = 355) | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
2501 | PALET IQ 355 | PALET IQ400 | PALLET IQ 355 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
2505 | REBOSADERO IQ -65MM TU CRISTAL 12-15- | OVERFLOW TUBE IQ | TUB TROPPO PIENO IQ -65MM YOUR CRYSTAL 12-15- | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2510 | ARANDELA DIN 125 M-8 NYLON | WASHER NYLON JOINT 8/16 | RONDELLA. DIN 125 M-8 NYLON | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2512 | ARANDELA 9X40X4 GAL | WASHER 9X40X4 | RONDELLA 9X40X4 GAL | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
2514 | EJE BASCULANTE IQ | BASCULE AXIS | ALBERO RIBALTAMENTO IQ | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2520 | ARO PASACABLES 44'4 (15514) | GROMET | ANELLO DI PASSAGGIO 44'4 (15514) | 6 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2595 | TORN. DIN 912 M-5X6 INOX A2 | SCREW DIN 912 M5X6 | VITE DIN 912 M5X6 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2717 | IQ 475 CHAPA LATERAL PUENTE | IQ550 SIDE SUPPORT BRIDGE | FOGLIO LATERALE PONTE IQ 475 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2871 | TORN. DIN 912 M-6X8 INOX A4 | SCREW DIN 912 M6X8 | VITE. DIN 912 M-6X8 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2903 | IQ TAPA VENTANA | IQ WINDOW COVER | IQ COPERCCHIO FINESTRA | 13 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3297 | TORN. DIN 912 M-8X20 8.8 ZINC | SCREW 8*20 | VITE. DIN 912 M-8X20 8.8 ZINCO | 6 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3560 | TORN. DIN 912 M-10X12 INOX A2 | SCREW DIN 912 M10*12 | VIOLENTO. DIN 912 M10*12 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3582 | CORTE MANGUERA 6X12 D 2500MM | PIPE 6X12 D 2500MM | TAGLIO TUBO 6X12 D 2500MM | 15 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
3586 | CORTE MANGUERA 10x16 800mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
3713 | TUBO 1/4 RECTO U/C -25- | STRAIGHT COPPER TUBE 1/4 C/U -25- | RT TUBO 1/4 DRITTO U / C -25- | 12 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3720 | TUBO 1/4 CURV. U/C -80- | CURVED TUBE 1/4. C/U -80- | TUBO 1/4 CURVO U / C -80- | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
3985 | CAPILAR CORTE -2000- 2X0.8 | CAPILLARY TUBE 2 X 0.8 | CAPILLARE DA TAGLIO -2000- 2X0.8 | 16 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
4040 | PALA VENT. 200X28º ALUM.73808-2-3634 | FAN BLADE 200X28 PLASTIC | PALA VENTILATORE 200x28º ALLUM.73808-2-3634 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4521 | BANDEJA BOMBA ECP-ECO-NG | WATER PUMP TRAY | BACCINELLA POMPA ECP-ECO-NG | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4527 | RESTRICTOR 1.2L/MIN MARRON VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
4790 | TAPA CUADRO ELECTRICO NG | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA NG | 9 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4791 | BASE CUADRO ELECTRICO NG V1 | ELECTRICAL BOARD SUPPORT | &&&&&& BASE SCATOLA ELETTRICA NG V1 | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4840 | TIRANTE LATERAL IQ-85 DCHO (4840CT) | RIGHT SIDE STRAP IQ85 | BANDA LATERALE IQ-85 DESTRA | 13 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4841 | TIRANTE LATERAL IQ-85 IZDO (4841CT) | LEFT SIDE STRAP IQ85 | STRISCE LATERALI IQ-85 SINISTRA | 13 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
5016 | COND.W (4V) 2.7M - REP=5242 | WATER CONDENSER | COND.W (4V) 2.7M - REP = 5242 | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5030 | PUERTA NG-40 INOX | DOOR ASSEMBLY NG | SPORTELLO NG-40 INOX | 68 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5219 | TUBO TERMOSTATO INOX 420MM IQ85-NG40 | THERMOSTAT TUBE | TUBO TERMOSTATO INOX 420MM IQ85-NG40 | 9 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5365 | IQ 135-175 PLATO BRIDA MECANIZADO | FLANGE PLATE IQ135/150/175 | FLANGIA LAVORATA IQ 135-175 | 193 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
5366 | IQ 355-475 PLATO BRIDA MECANIZADO | FLANGE PLATE IQ 400/550/1100 | FLANGIA MECCANIZZATA IQ 355-475 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
6004 | ANILLO SEGURIDAD CLIP DIN 6799 D.INT-5 INOX A-2 | SAFETY RING | ANELLO SICUREZZA CLIP DIN 6799 D.INT-5 INOX A-2 | 12 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6044 | SOPORTE REDUCTOR 6043 (6044CT) | GEAR MOTOR SUPPORT | 6043 SUPPORTO RIDUCENTE | 15 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6072 | ARANDELA 29X28X2.5 LATON | SPACER | RONDELLA OTTONE 19X28X2,5 | 24 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6084 | REJILLA LATERAL MS | SIDE LOUVER | GRIGLIA LATERALE MS | 44 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6388 | TUBO SALIDA HIELO IQ-85 | ICE CHUTE IQ200C | TUBO DI USCITA ICE IQ-85 | 20 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6404 | REDUCTOR 8MRV040 i=60 63B14 D=19 M8 | GEAR MOTOR 8MRV040 i=60 63B14 D=19 M8 | RIDUTTORE 8MRV040 i=60 63B14 D=19 M8 | 221 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6486 | MOTO-REDUCTOR IQ-95 0.18KW 220/50-60 | GEAR MOTOR IQ85 | MOTORE-RIDUTTORE IQ-85 230-50 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6657 | FRENTE VERTICAL IQ 400 / 550 (6657CT) | FRONT VERTICAL PANEL | ANTERIORE VERTICALE | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 17 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 5 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
7225 | CUBA STOCK IQ 135 S-60 (7225PU) | STORAGE BIN IQ135/ S-60 | CUVA CONTENITORE IQ 135 S-60 (7225PU) | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7227 | IQ135 S-60 CONO DISPERSION | DISPERSION CONE IQ | IQ135 S-60 CONO DI DISPERSIONE | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7383 | VARILLA EJE PUERTA Q34 DP55 (459MM) | AXLE DOOR 34 | ASSE SPORTELLO Q34 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7608 | PUERTA DP55-V50 | SLIDING DOOR DP50-V50 INOX | SPORTELLO DP50 | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7635 | IQ 355 EVAPORADOR (7627) | EVAPORATOR IQ400 | EVAPORATORE IQ 355 | 643 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | TAPPO IN GOMMA 9X45 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7896 | DESHIDRATADOR 20 GR 1E 1S 1/4" C/CURVA | FILTER DRIER | "ESSICCATORE 20 GR 1E 1S 1/4"" CON CURVA" | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 13 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
8718 | ETIQUETA LOGO ITV 90.3 X 30MM AL BF EFECTO CEPILLADO MARCA 777-095 |  |  | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
8784 | CUBIERTA IQR (8784CT) | TOP PANEL | COPERCHIO IQR | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
30451 | CAJA DISPLAY NIQ | DISPLAY BOX NIQ | SCATOLA DISPLAY NIQ | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30690 | CURVA EVAPORADOR MS22 | EVAPORATOR CURVE MS22 | MS22 CURVA EVAPORATORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30792 | BASE CAJA ELÉCTRICA NIQ | BASE ELECTRICAL BOX NIQ | BASE SCATOLA ELETTRICA NIQ | 21 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
30850 | CONEXION SALIDA DESAGÜE | DRAIN FORCE FITTING | COLLEGAMENTO USCITA SCARICO | 9 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30976 | TORN. DIN 912 M-10X30 ZINCADO | DIN 912 M-10X30 ZINC PLATED SCREW | VIOLENTO. ZINCADO DIN 912 M-10X30 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
31206 | CAPILAR CORTE -2200- 2X0.8 |  | CAPILLARE DA TAGLIO -2200- 2X0.8 | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31210 | R290 ASPIRACION IQ50-85 AIRE | R290 IQ50-85 AIR SUCTION | R290 ASPIRAZIONE IQ50-85 ACQUA | 17 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31274 | TAPA CAJA ELÉCTRICA NIQ | NIQ ELECTRICAL BOX COVER | COPERCHIO SCATOLA ELETTRICA NIQ | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31300 | COMPRESOR EMT6144U (4.5CC) CSIR 220-240/50 R290 | COMPRESSOR EMT6144U (4.5CC) CSIR 220-240/50 R290 | COMPRESSORE EMT6144U (4.5CC) CSIR 220-240 / 50 R290 | 230 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31301 | COMPRESOR EMT6152U (5.2CC) CSIR 220-240/50 R290 | COMPRESOR NEU6220U (16.8CC) CSR 220-240/50 R290 | COMPRESSORE EMT6152U (5.2CC) CSIR 220-240 / 50 R290 | 255 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31444 | DISTRIBUIDOR DES-GC C/PRESOSTATO | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
31524 | VALVULA EXPANSION ORIF.4 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.4 (R290) 1/4X1/2 | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31544 | CLIP PLACA CB SPT-DUAL LOCK-NATURAL (DLCBS8-3-01) | ELECTRONIC BOARD CLIP | CLIP PLACCA CB SPT-DUAL LOCK-NATURAEL (DLCBS8-3-01) | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31746 | PASACABLES D20 (30007 GROM OPEN 20X1/16) | WIRE HOLE | PASSACAVI D20 (30007 PASS. APERTO 20X1/16) | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
31781 | REBOSADERO NIQ -70MM TU CRISTAL 12-15- | NIQ OVERFLOW -70MM YOUR GLASS 12-15- | FLOODING NIQ -70MM YOUR CRYSTAL 12-15- | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | TELAIO GRUPPO 3 LUNGHEZZA 825-815-790-780 | 7 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32346 | VALVULA EXPANSION TUB 068U3831 ORIF.5 (R290) 6X12 | EXPANSION VALVE R290 | VALVOLA ESPANSIONE TUB 068U3831 ORIF.5 (R290) 6X12 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32416 | INTERRUPTOR A1 NEGRO 10A AT | MAIN SWITCH | INTERRUTTORE A1 NERO 10A AT | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32502 | RELE FINDER 668282404303 240VAC 2NA 30A ATEX | FINDER RELAY 668282400303 240VAC 2NO 30A ATEX | RELE FINDER 668282400303 240VAC 2NA 30A ATEX | 116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32587 | TORNILLO CAB.HEX. M5 COJINETE INF IQ85 | KNURLING SCREW M-5 INOX | VITE MOLETATA INOX M-5 | 11 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32695 | DISTRIBUIDOR DES-GC C/PRESOST. 1/4"-3/8 X3/8" | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
32817 | COMPRESOR (38CC) 400/50-440/60 R290 | COMPRESSOR 400/50-440/60 R290 |  | 1037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32895 | MOTOR VENT. NIQ3224-330450 100-240 V 50/60HZ 1550 RPM | FAN MOTOR 100-240 V 50/60HZ |  | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
32914 | R290 ASPIRACION IQ50 AGUA | R290 IQ50 WATER SUCTION | R290 ASPIRAZIONE IQ50 ACQUA | 21 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32977 | R290 ASPIRACION IQ85 AGUA | R290 IQ85 WATER SUCTION | R290 ASPIRAZIONE IQ85 ACQUA | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32998 | MICRORUPTOR ATEX - MICRO | MICRO SWITCH | MICROINTERRUTTORE ATEX - MICRO | 16 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33282 | ASPIRACION IQ550 R290 |  |  | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33303 | COMPRESOR EMX6210U (9.04CC) CSIR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE NEU6210U (8.78CC) CSIR 220-240 / 50 R290 | 274 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
33305 | COMPRESOR (12.21CC) CSIR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE EHU6214U (12,21CC) CSIR 220-240/50 R290 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
33334 | SOPORTE ACOMETIDA IQ W R290 (33334CT) | IQ W R290 CONNECTION SUPPORT | SUPPORTO TERMOSTATO NG | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
33373 | TIRANTE PUENTE IQ 550 R290 (33373CT) | BRIDGE TIE IQ 550 R290 | SUPPORTO TERMOSTATO NG | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33470 | TIRANTE PUENTE IQ 400 R290 (33470CT) |  | SUPPORTO TERMOSTATO NG | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
33658 | BRIDA REDUCTOR CPM063/050 MECANIZADA |  | FLANGIA AL. REDUCTOR LENZE 31393 (LAVORATO) | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
33671 | COND.AGUA 5.5V 7KW TUBO 19 (DIAM 140) | WATER CONDENSER 5.5V 7KW TUBO 19 (DIAM 140) | COND.WATER 6V TUBE 35 (DIAM 340) -MR | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
33707 | MOTO-REDUCTOR IQ150-200 / 230-50 |  |  | 1402 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
33766 | CORTE TUBO CRISTAL 15-20 -220MM | EVACUATION PIPE IQ 85 230 MM | TUBO DI SCARICO IQ-85 -220MM IL TUO VETRO 15-20- | 11 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33775 | SUPLEMENTO IQ BASCULANTE PARO |  |  | 11 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33831 | IQ BASCULANTE DE PARO (33831RB) | STOP BASCULE FLAP | FERMO BASCULANTE IQ | 5 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33930 | ARANDELA HUSILLO IQ400 |  |  | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
33931 | HUSILLO IQ400 D32 | AUGER IQ400 | COCLEA IQ355 | 1244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34048 | FRENTE SUPERIOR IQ-85 DISPLAY (34048RB) |  | ANTERIORE SUPERIORE IQ-85 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34061 | IQ 355- 550 BANCADA R290 ELECTRONICA (34061CT) | BASE IQ400-550 | IQ 355- 550 PIASTRA DI BASE | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
34063 | BASE CUADRO ELECTRICO IQR ELECTRONICA (34063CT) | ELECTRIC BOX | BASE SCATOLA ELETTRICA IQR | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34068 | FRENTE IQ 135 DISPLAY (34068CT) | FRONT PANEL (I) | ANTERIORE IQ 135 | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34069 | FRENTE HORIZONTAL IQ 400 I R290 DISPLAY (34069RB) | FRONT PANEL IQ400/900 | ANTERIORE ORIZZONTALE IQ 400 I | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34070 | FRENTE HORIZONTAL IQ 550 I R290 DISPLAY (34070RB) | FRONT PANEL IQ 600 I | FRONTE ORIZZONTALE IQ 550 I | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34083 | TUBO SALIDA VALVULA DESAGÜE IQ-85/50 |  |  | 13 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34086 | CUADRO Y CABL. IQ85 220V R290 ELECTRONICA |  | TABELLA E CAVO. IQ 85 R290 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34093 | TUBO DESAGÜE IQ200 | DRAIN FORCE TUBE DISCHARGE WATER BIN |  | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34094 | TUBO ENTRADA W EVAPORADOR IQ200 | DRAIN FORCE TUBE DISCHARGE WATER BIN |  | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34096 | TUBO DESAGÜE IQ600 | DRAIN FORCE TUBE DISCHARGE WATER BIN |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
34097 | TUBO ENTRADA W EVAPORADOR IQ600 | DRAIN FORCE TUBE DISCHARGE WATER BIN |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
34104 | IQ 150 TRASERA R290 ELECTRONICA (34104CT) | REAR PANEL IQ135/150 | IQ 135 POSTERIORE | 36 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34106 | IQ 355 PUENTE ELECTRONICA (34106RB) | EVAPORATOR SUPPORT BRIDGE IQ400 | PONTE IQ 355 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34107 | IQ 400 TRASERA R290 ELECTRONICA (34107CT) | REAR COVER IQ400 | IQ 355 POSTERIORE | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34108 | IQ 475 PUENTE ELECTRONICA (34108RB) | IQ550 BRIDGE EVAPORATOR SUPPORT IQ5 | PONTE IQ 475 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34109 | IQ 475 PUENTE (LATERAL) ELECTRONICA (34109CT) | IQ550 BRIDGE (SIDE) | PONTE IQ 475 (LATO) | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34110 | IQ 550 TRASERA R290 ELECTRONICA | REAR COVER IQ600 | IQ 475 POSTERIORE | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34122 | CUBETA AGUA NIQ100 |  | BACINELLA ACQUA GRIGGIO NIQ | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
34123 | TAPA CUBETA AGUA NIQ100 |  | BACINELLA ACQUA GRIGGIO NIQ | 17 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
34126 | VALVULA AGUA VERTICAL 1,2 L/MIN 220V 1 VIA | INLET WATER VALVE | ELETTROVALV. ACQUA 3.5 B | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
34136 | BASE CUADRO ELECTRICO IQR 400/600 ELECTRONICA (34136CT) | ELECTRIC BOX | BASE SCATOLA ELETTRICA IQR | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34150 | JUNTA TORICA OR 2,62x107,62 NBR 70 Sh NSF 61 NEGRA | O-RING 8X3 | GUARNIZIONE TORICA 8X3 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
34159 | TORN. DIN 912 M-5X10 INOX A2 | SCREW DIN 912 M5X6 | VITE DIN 912 M5X6 | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34286 | CONVERTIDOR DE FREC. VDC-004-1 0.4KW 220V |  |  | 423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34325 | VALVULA DESAGÜE IQ50-85 220V |  |  | 37 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34489 | IQ 150 LATERAL IZDO R290 ELECTRONICA |  |  | 45 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34516 | BASE CUADRO ELECTRICO IQR TRIFASICA ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34532 | IQ 550 LATERAL DCHO R290 ELECTRONICA |  |  | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34533 | IQ 550 LATERAL IZDO R290 ELECTRONICA |  |  | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34534 | IQ 400 LATERAL DCHO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34535 | IQ 400 LATERAL IZDO R290 ELECTRONICA |  |  | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34550 | TAPA CUADRO ELÉCTRICO IQ550 TRIFASICA R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34551 | CUBIERTA VALVULA ENTRADA W |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34552 | CUBA AGUA IQ GRIS CON ELECTRODOS |  |  | 30 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
34554 | MONTAJE ENTRADA W IQ150-200 R290 220/50 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34555 | MONTAJE ENTRADA W IQ400 R290 220/50 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34556 | MONTAJE ENTRADA W IQ600 R290 220/50 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34569 | TUBO RETORNO EVAPORADOR IQ600 |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34571 | TUBO PVC 12-15 50MM (1388) |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34766 | TUBO ENTRADA EVAPORADOR IQ-85/50 V2 |  |  | 12 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34767 | TUBO DRENAJE EVAPORADOR IQ-85/50 |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34852 | BOCA EVAPORADOR IQ NG TUBO 40 - TALADRADA |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35078 | PINZA SUJETAPALAS |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35166 | TUBO PVC 8-10 40MM (626) |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35173 | PALA VENT. 300X19º ALUM. | FAN BLADE 300X19º |  | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
35260 | PANEL PILOTOS NIQ S/CABLE 2.0 |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1005A | ESPIGA ENTRADA AGUA MIQ V02 | WATER INLET PIN | BIGLIETTO ACQUA MIQ | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113A | CLIP REMATE BOCA | CLIP | CLIP FERMO BOCCA | 8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115E | HUSILLO IQ 85C (D35.7/20.5) EXT.RECORTADO | AUGER IQ50-85 | MANDRINO IQ 85C (CON RIVESTIMENTO) | 708 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125A | IQ 135/175 COJINETE INFERIOR | IQ 135/175 LOWER BEARING | IQ 135/175 BOCCOLA INFERIORE | 255 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
140A | COMPAS PUERTA NG DCHO | DOOR RIGHT COMPASS NG MODELS | COMPASSO PORTA NG DESTRA | 30 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
141A | COMPAS PUERTA NG IZDO | DOOR LEFT COMPASS NG MODELS | COMPASSO PORTA NG SINISTRA | 30 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161A | PILAR TRASERO NG-40 (161ARB) | BACK SIDE COLUMNE NG | PILASTRO POSTERIORE NG-40 | 19 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
162A | IQ 355/475 COJINETE INFERIOR | IQ 400/550/1100 LOWER BEARING | IQ 355/475 BOCCOLA INFERIORE | 337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
1909U | DEFLECTORA AIRE IQ-85 R290 (1909UCT) | AIR DEFLECTOR IQ-85 R290 | DEFLETTORE ARIA IQ-85 R290 | 8 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1927U | IQ 150 LATERAL DCHO R290 (1927UCT) | RIGHT PANEL IQ135/150 | IQ 135 FIANCO DESTRO | 54 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
207A | PILAR ACOMETIDAS NG-40 (207ARB) | MULTIPLE OUT PUT COLUMNE NG | PILASTRO COLLEGAMENTI NG-40 | 21 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2300A | INTERRUPTOR UNIPOLAR EX |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2465U | IQ 150 CUBIERTA R290 (2465UCT) | TOP PANEL IQ135/150/200 | IQ 175 COPERCCHIO | 55 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
30363A | MOTORREDUCTOR IE2 G500-B450 MXXMAXX 06-423 7.1 RPM 400V/50-60HZ/III 0.25KW | GEAR MOTOR IE2 G500-B450 MXXMAXX 06-423 7.1 RPM 400V/50-60HZ/III 0.25KW | MOTORE RIDUTTORE G500-B450 MXXMAXX 06-423 7.1 RPM 400V / 50-60HZ / III | 1992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
30874B | BRIDA AL. REDUCTOR LENZE 31393 (ESTAMPACIÓN) | GEAR MOTOR FLANGE LENZE 31393 (ESTAMPACIÓN) | FLANGIA AL. REDUCTOR LENZE 31393 (LAVORATO) | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
30939A | SONDA RAPIDA NTC 4X40 IP68 C/CONECTOR |  |  | 18 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31160E | PRESOSTATO (11.5-13.5 BAR) R290 | FAN CONTROL PRESSURE SWITCH | PRESSOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | 36 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31310A | COMPRESOR (27.8CC) CSR 220-240/50 R290 |  |  | 594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31660E | PRESOSTATO (25-20 BAR) R290 | HIGH PRESSURE SWITCH | PRESSOSTATO NSDHA 12B00300 (25-20 BAR) R290 | 35 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
34110CT | IQ 550 TRASERA R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34489CT | IQ 150 LATERAL IZDO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
34516CT | BASE CUADRO ELECTRICO IQR TRIFASICA ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34532CT | IQ 550 LATERAL DCHO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34533CT | IQ 550 LATERAL IZDO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34534CT | IQ 400 LATERAL DCHO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34535CT | IQ 400 LATERAL IZDO R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
34550CT | TAPA CUADRO ELÉCTRICO IQ550 TRIFASICA R290 ELECTRONICA |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34551CT | CUBIERTA VALVULA ENTRADA W |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34557A | FERRITA AX-FER2102-PE SALIDA 2.2KW |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4063A | REJILLA PLASTICO IQ85 NG-40 |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4186A | REJILLA AIREACION NG-55 |  |  | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
486A | CONDENSADOR 8X3 C/B | AIR CONDENSER 8X3 | CONDENSATORE Q4V 8x3 C/B | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
489UA | LATERAL NG-40 R290 (489UACT) | SIDE PANEL | FIANCO DESTRO NG-40 R290 | 61 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
506U | PUENTE NG-40 R290 (506UCT) | BRIDGE NG-40 R290 | PONTE NG-40 R290 | 21 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
635A | TRASERA NG-40 (635ACT) | REAR COVER | POSTERIORE NG-40 | 11 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7012C | IQ 85 EVAPORADOR NEW (7008C) | IQ 50-85 EVAPORATOR | EVAPORATORE IQ 85 | 301 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7225TE | CUBA STOCK IQ 135 S-60 - PEGAR DESAGÜES (1338) | STOCK BIN IQ 135 S-60 | CUVA CONTENITORE IQ 135 S-60 - INCOLLAR SCARICO (1338) | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7380B | CUBA STOCK IQ-85 AZUL TERMINADA ELECTRONICA (7380BCO) | STOCK BIN IQ85 | ISOLATED IQ-85 STOCK CUBE (7380CO) | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7633A | IQ 135 EVAPORADOR (7625A) | EVAPORATOR IQ135/150 | EVAPORATORE IQ 135 | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
7636A | IQ 475 550 EVAPORADOR (7628A) | EVAPORATOR IQ 550 | EVAPORATORE IQ 475 550 | 713 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
920A | CUBIERTA NG-40 (920ACT) | TOP PANEL | COPERCHIO NG-40 | 45 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97B | IQ 40/85 COJINETE INFERIOR M5 | LOWER BEARING IQ 40 PIPE | CUSCINETTO INFERIORE IQ 40/85 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99A | CABEZA EXTRUSIONADORA TROCEADO TUBO 40 | BEARING HEAD | CAB.EXT.TROCEED TUBO GHIACCIO 40 | 49 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0