## IQ
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | IQN 90C R290 220/50 | IQN 240 A R290 220/50 | IQN 300 R290 220/50 | IQN 500 R290 220/50 | IQF 300 R290 220/50 | IQF 500 R290 220/50
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 1 | 0 | 0 | 0 | 0 | 0
82 | REMATE BOCA DCHO | RIGHT DOOR GUARD | COPERTURA BOCCA DESTRA | 39 | 1 | 1 | 0 | 0 | 0 | 0
83 | REMATE BOCA IZDO | LEFT DOOR GUARD | COPERTURA BOCCA SINISTRA | 48 | 1 | 1 | 0 | 0 | 0 | 0
105 | ABRAZADERA INOX 8-16/9W4 NORMA S/F | JUBILEE CLIP INOX 8-16/9W4 NORMA S/F | FASCETTA INOX 8-16 / 9W4 STANDARD S / F | 6 | 1 | 1 | 1 | 1 | 1 | 1
155 | CASQUILLO EJE PUERTA NG NEGRO | DOOR AXE BUSHING | BUSSOLA ALBERO PORTA NG NERA | 3 | 1 | 1 | 0 | 0 | 0 | 0
156 | TOPE COMPAS NG | DOOR BUMPER | FERMO PORTA NG | 10 | 1 | 1 | 0 | 0 | 0 | 0
159 | PILAR DELANTERO NG-40 DCHO (159RB) | RIGH SIDE FRONT COLUMN | PILASTRO ANTERIORE NG-40 DESTRA | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
160 | PILAR DELANTERO NG-40 IZDO (160RB) | FRONT COLUMNE LEFT SIDE | PILASTRO ANTERIORE NG-40 SINISTRA | 20 | 1 | 0 | 0 | 0 | 0 | 0
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 1 | 1 | 1 | 1 | 1 | 1
248 | TORN. DIN 965 M-5X15 INOX | SCREW DIN 965 M-5X15 INOX | VITE INOX DIN965 M5 x15 | 2 | 0 | 1 | 0 | 0 | 0 | 0
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | VITE DIN 933 M-5X10 INOX | 5 | 1 | 0 | 1 | 1 | 1 | 1
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | DADO DIN 934 M-4 INOX | Consultar/Consult | 0 | 1 | 1 | 1 | 1 | 1
264 | ARANDELA DIN 125 M-5 INOX | WASHER STAINLESS M5 D125 | RONDELLA. DIN 125 M-5 INOX | Consultar/Consult | 0 | 1 | 1 | 1 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | VITE DIN 7981 4.8*12.7 INOX A2 | 3 | 1 | 1 | 1 | 1 | 1 | 1
285 | TUERCA DIN 934 M-8 ZINC | M8 GAL. NUT | DADO DIN 934 M-8 ZINCO | 2 | 1 | 1 | 0 | 0 | 0 | 0
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 1 | 1 | 0 | 0 | 0 | 0
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2 | 1 | 1 | 1 | 1 | 1 | 1
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 1 | 0 | 0 | 0 | 0 | 0
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | TUBO CRISTAL 4-6 C0403 / CL / 0030 / CD | 8 | 1 | 0 | 0 | 0 | 0 | 0
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2 | 0 | 0 | 1 | 1 | 1 | 1
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 11 | 0 | 1 | 0 | 0 | 0 | 0
389 | TUBO CRISTAL 12-15 C1201/CL/0030/CD | GLASS TUBE 12-15 | TUBO CRISTAL 12-15 C1201 / CL / 0030 / CD | 7 | 1 | 1 | 1 | 1 | 1 | 1
392 | TORN. DIN 912 M-6X16 INOX A2 | SCREW DIN 912 M-6X16 INOX A2 | VITE DIN 912 M-6X16 INOX A2 | 2 | 1 | 1 | 1 | 0 | 0 | 0
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1
418 | FRENTE INFERIOR NG-40 (418CT) | LOWER PANEL NG-40 | ANTERIORE INFERIORE NG-40 | 23 | 1 | 0 | 0 | 0 | 0 | 0
420 | GRASA LÍTICA ALTA PRESIÓN EP2 | GREASE MULTIFAK | GRASSO MULTIFAK EP2 TEXACO | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
445 | MOTOR VENT.10W+PIE H84 220/50 M4Q045-CA03-49 | FAN MOTOR 10W 250 | MOTOVENTILATORE 10W+PIE H84 220/50 | 55 | 0 | 1 | 0 | 0 | 0 | 0
614 | TAPON UNIVERSAL PULSAR | STANDARD STOPPER | TAPPO UNIVERSALE PULSAR | 6 | 1 | 1 | 1 | 1 | 1 | 1
636 | TUBO CAPILAR 0'8 x 2 (0.02491 KM) | CAPILLARY TUBE 0.8 X 2 | TUBO CAPILLARE 0'8 x 2 (0.025KM) | 6 | 1 | 0 | 0 | 0 | 0 | 0
666 | REMATE TUBO TERMOSTATO | THERMOSTAT JOINT | FISSAGGIO TUBO TERMOSTATO | 5 | 1 | 0 | 0 | 0 | 0 | 0
702 | MUELLE PUERTA NG | DOOR SPRING NG | MOLLA SPORTELLO NG | 8 | 1 | 1 | 0 | 0 | 0 | 0
731 | PASACHAPAS DIAMETRO 50 | HOLE BUSHING RING | PASSACAVO DIAMETRO 50 | 6 | 1 | 1 | 0 | 0 | 0 | 0
766 | REJILLA DESAGUE LAVABO | BIN DRAIN GRILL | GRIGLIA DI SCARICO LAVANDINO | 5 | 1 | 0 | 0 | 0 | 0 | 0
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | SCARICO CUVA BIANCO | 5 | 1 | 1 | 0 | 0 | 0 | 0
856 | PERFIL VINIGOM GRIS-3124- (PL1/109) | PERFIL VINIGOM | PROFILO VINIGOM GRIGGIO-3124- (PL1 / 109) | 6 | 1 | 1 | 0 | 0 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 13 | 1 | 1 | 1 | 1 | 1 | 1
1001 | COJINETE PUERTA NG NEGRO | DOOR BUSHING | BUSSOLA PORTA NG NERA | 3 | 1 | 1 | 0 | 0 | 0 | 0
1123 | BASCULANTE PUERTA IQ NG | DOOR SUPPORT IQ NG | PORTA A BATTENTE IQ NG | 9 | 1 | 0 | 0 | 0 | 0 | 0
1365 | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO + ADH.ST 5 (0,250 K / M1) | 29 | 0 | 0 | 1 | 1 | 1 | 1
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 7 | 1 | 0 | 0 | 0 | 0 | 0
1598 | ESPIGA REBOSADERO IQ | OVERFLOW PIN | IQ OVERFLOW SPIGA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
1599 | ARANDELA DIN 127 M-6 GROVER ZINC | WASHER DIN 127 M-6 | Arand. DIN 127 M-6 GROVER ZINCO | Consultar/Consult | 0 | 0 | 1 | 0 | 0 | 0
1673 | VALV AGUA 1B (1146) 220/50-60Hz | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA 1B | 18 | 1 | 0 | 0 | 0 | 0 | 0
1690 | PALET NG-40 SIN PATAS IQ85 | PALLET NG 40 WITHOUT FOOT | NG-40 PALLET SENZA PIEDINI IQ85 | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
1728 | &REJILLA TRASERA NG40 PINTADA | REAR GRILL | & GRIGLIA POSTERIORE NG40 VERNICIATA | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1
2068 | TOPE REJILLA TRASERA | ELASTIC STOPPERS ON REAR GRILLE | FERMO GRIGLIA POSTERIORE | 2 | 1 | 1 | 0 | 0 | 0 | 0
2093 | JUNTA PLANA COBRE 5X9X1.5 | WASHER M5X10X1.5 | GUARNIZIONE PIANA RAME 5X9X1,5 | 3 | 1 | 0 | 0 | 0 | 0 | 0
2192 | REJILLA TRASERA NG70 PINTADA | REAR GRILL | GRIGLIA POSTERIORE NG70 VERNICIATA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
2222 | TUBO DESAGUE NG 40 | DRAIN TUBE | TUBO DI SCARICO NG 40 | 13 | 0 | 1 | 0 | 0 | 0 | 0
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 1 | 1 | 0 | 0 | 0 | 0
2432 | REMACHE GALV. M-5X12 HEX.CAB.REDUC. | RIVET | RIVETTO ZINC. M-5X12 HEX.CAB.REDUC. (PSZROH-0525-250) | 3 | 1 | 0 | 1 | 1 | 1 | 1
2452 | ARANDELA DIN 127 M-8 GROVER ZINC | M 8 GAL GROVER WASHER | RONDELLA. DIN 127 M-8 GROVER ZINCO | 2 | 1 | 0 | 0 | 0 | 0 | 0
2505 | REBOSADERO IQ -65MM TU CRISTAL 12-15- | OVERFLOW TUBE IQ | TUB TROPPO PIENO IQ -65MM YOUR CRYSTAL 12-15- | 2 | 1 | 0 | 0 | 0 | 0 | 0
2520 | ARO PASACABLES 44'4 (15514) | GROMET | ANELLO DI PASSAGGIO 44'4 (15514) | 6 | 1 | 0 | 0 | 0 | 0 | 0
2560 | DESHIDRATADOR DML032S | DRIER FILTER DML032S 023Z4822 | DESHIDRATATORE DML032S (023Z482291) | 23 | 0 | 0 | 1 | 1 | 1 | 1
2595 | TORN. DIN 912 M-5X6 INOX A2 | SCREW DIN 912 M5X6 | VITE DIN 912 M5X6 | 2 | 0 | 1 | 1 | 1 | 1 | 1
3434 | PILAR DELANT DCHO NG-90 (3434RB) | RIGHT FRONT PILAR NG110 | PILASTRO ANTERIORE DESTRO NG-90 | 40 | 0 | 1 | 0 | 0 | 0 | 0
3435 | PILAR DELANTERO IZDO NG-90 (3435RB) | LEFT FRONT PILAR NG-110 | PILASTRO ANTERIORE SINISTRA NG-90 | 40 | 0 | 1 | 0 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 1 | 1 | 1 | 1 | 1 | 1
3586 | CORTE MANGUERA 10x16 800mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 5 | 1 | 0 | 0 | 0 | 0 | 0
3713 | TUBO 1/4 RECTO U/C -25- | STRAIGHT COPPER TUBE 1/4 C/U -25- | RT TUBO 1/4 DRITTO U / C -25- | 12 | 1 | 1 | 0 | 0 | 0 | 0
3762 | TUBO CAPILAR - 1751 - 2 X 0'8 | CAPILLARY TUBE 1751 - 2 X 0'8 | TUBO CAPILLARE - 1751 - 2 X 0'8 | 17 | 1 | 0 | 0 | 0 | 0 | 0
3770 | FRENTE INFERIOR NG-90 (3770CT) | LOWER FRONT PANEL | ANTERIORE INFERIORE NG-90 | 75 | 0 | 1 | 0 | 0 | 0 | 0
4027 | ABRAZADERA TUBO RICH 103 ( 19.1-22.2) | JUBILEE CLIP RICH 103 (19.1-22.2) | RICH 103 TUBE CLAMP (19.1-22.2) | 5 | 0 | 1 | 1 | 1 | 1 | 1
4146 | RT OMEGA CUBIERTA NG 70-90 (4146CT) | BACK REINFORCEMENT NG-110 | RT OMEGA TOP NG 70-90 | 11 | 0 | 1 | 0 | 0 | 0 | 0
4231 | PALA VENT. 230X28º ALUM.73811-2-3634 | FAN BLADE | PALA VENT. 230X28º ALUM.73811-2-3634 | 10 | 0 | 1 | 0 | 0 | 0 | 0
4527 | RESTRICTOR 1.2L/MIN MARRON VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 3 | 0 | 1 | 1 | 1 | 1 | 1
4789 | BASE CUADRO ELECTRICO NG | ELECTRIC BOX SUPPORT | BASE DI SCATOLA ELETTRICA NG | 9 | 0 | 1 | 0 | 0 | 0 | 0
4790 | TAPA CUADRO ELECTRICO NG | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA NG | 9 | 1 | 1 | 0 | 0 | 0 | 0
4791 | BASE CUADRO ELECTRICO NG V1 | ELECTRICAL BOARD SUPPORT | &&&&&& BASE SCATOLA ELETTRICA NG V1 | 8 | 1 | 0 | 0 | 0 | 0 | 0
4840 | TIRANTE LATERAL IQ-85 DCHO (4840CT) | RIGHT SIDE STRAP IQ85 | BANDA LATERALE IQ-85 DESTRA | 13 | 1 | 0 | 0 | 0 | 0 | 0
4841 | TIRANTE LATERAL IQ-85 IZDO (4841CT) | LEFT SIDE STRAP IQ85 | STRISCE LATERALI IQ-85 SINISTRA | 13 | 1 | 0 | 0 | 0 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 1 | 0 | 0 | 0 | 0 | 0
4907 | RETENEDOR CABLE Z10.5 o.B. 9641156602 UL | RETAINER CABLE / WIRING FIXING | PRESACAVO Z10.5 o.B. 9641156602 UL | 11 | 0 | 0 | 1 | 1 | 1 | 1
5030 | PUERTA NG-40 INOX | DOOR ASSEMBLY NG | SPORTELLO NG-40 INOX | 68 | 1 | 0 | 0 | 0 | 0 | 0
5219 | TUBO TERMOSTATO INOX 420MM IQ85-NG40 | THERMOSTAT TUBE | TUBO TERMOSTATO INOX 420MM IQ85-NG40 | 9 | 1 | 0 | 0 | 0 | 0 | 0
5237 | PUERTA NG-70 INOX | DOOR ASSEMBLY NG | SPORTELLO NG-70 INOX | 101 | 0 | 1 | 0 | 0 | 0 | 0
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1
6183 | VALVULA AGUA MS 220V NORYL DSVP12 220/240VAC | WATER VALVE | VALVOLA ACQUA MS 220V NORYL DSVP12 220 / 240VAC | 78 | 1 | 0 | 0 | 0 | 0 | 0
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 17 | 0 | 1 | 1 | 1 | 1 | 1
7896 | DESHIDRATADOR 20 GR 1E 1S 1/4" C/CURVA | FILTER DRIER | "ESSICCATORE 20 GR 1E 1S 1/4"" CON CURVA" | 8 | 1 | 1 | 0 | 0 | 0 | 0
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 0 | 0 | 0 | 0
8718 | ETIQUETA LOGO ITV 90.3 X 30MM AL BF EFECTO CEPILLADO MARCA 777-095 |  |  | 13 | 1 | 0 | 0 | 0 | 0 | 0
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 13 | 0 | 1 | 1 | 1 | 1 | 1
8947 | EVAPORADOR NIQ500 MECANIZADO | MACHINED NIQ500 EVAPORATOR | EVAPORATORE MECCANIZZATO NIQ500 | 2893 | 0 | 0 | 0 | 1 | 0 | 1
8957 | ANILLO SEEGER DIN 471 D30 INOX | SEG RING AXE DIN471 DIAM 30 INOX | ANELLO SEC ASSALE DIN471 DIAM 30 INOX | 19 | 0 | 1 | 1 | 1 | 1 | 1
8962 | CIERRE MEC. ROTEN 2 D.030 DER. X7GV7 | MECH. CLOSURE ROTEN 2 D.3030 DER. X7V7 | CHIUDI MEC. ROTEN 2 D.030 DER. X7GV7 | 268 | 0 | 1 | 1 | 1 | 1 | 1
30006 | HUSILLO DOBLE HELICE NIQ500 | DOUBLE HELIX SCREW NIQ500 | ELICE A MANDRINO DOPPIO NIQ500 | 1569 | 0 | 0 | 0 | 1 | 0 | 1
30423 | CUBIERTA MS22 | MS22 COVER | COPERCHIO MS22 | 64 | 0 | 0 | 1 | 1 | 1 | 1
30432 | CUBIERTA CUBA NIQ | COVER TANK NIQ | NIQ BASCA COVER | 22 | 0 | 1 | 1 | 1 | 1 | 1
30433 | MASA NIVEL MINIMO AGUA NIQ | MASS MINIMUM LEVEL WATER NIQ | MASS MINIMO LIVELLO DELL'ACQUA NIQ | 10 | 0 | 1 | 1 | 1 | 1 | 1
30434 | MASA NIVEL MAXIMO AGUA NIQ | MASS MAXIMUM LEVEL WATER NIQ | MASSA MASSIMA LIVELLO DELL'ACQUA NIQ | 10 | 0 | 1 | 1 | 1 | 1 | 1
30435 | SOPORTE RETEN EVAPORADOR NIQ300 | EVAPORATOR RETAINER SUPPORT NIQ700 | SUPPORTO RIVENDITORE EVAPORATORE NIQ300 | 372 | 0 | 1 | 1 | 0 | 1 | 0
30436 | HUSILLO DOBLE HELICE NIQ300 | DOUBLE HELIX SCREW NIQ300 | ELICE A MANDRINO DOPPIO NIQ300 | 1933 | 0 | 1 | 1 | 0 | 1 | 0
30437 | EVAPORADOR NIQ300 MECANIZADO | MACHINED NIQ300 EVAPORATOR | EVAPORATORE NIQ300 MACCHINATO | 1919 | 0 | 1 | 1 | 0 | 1 | 0
30444 | ROMPE HIELOS NUGGET NIQ300 | NIQ300 NUGGET ICE BREAKER | PUGLIA GHIACCIO NIQ300 | 342 | 0 | 1 | 1 | 0 | 0 | 0
30446 | TAPA MICRO ATASCO NIQ | MICRO JAM LID NIQ | NIQ MICRO JAM COVER | 5 | 1 | 1 | 1 | 1 | 1 | 1
30447 | TUBO CAIDA HIELO NIQ500 (L=493mm) | ICE CHUTE NIQ500 (L=493mm) | NIQ500 ICE FALLING TUBE (L = 493mm) | 22 | 0 | 0 | 0 | 1 | 0 | 1
30448 | IMAN NEODIMIO 6X5 (NI) IQN / IQF | MAGNET- 6*5 | MAGNETE NEEDIMIO MNDIAM006005 6X5 (NI) | 7 | 0 | 1 | 1 | 1 | 1 | 1
30449 | PORTA IMAN SENSOR GIRO Y VELOCIDAD NIQ | MAGNET SENSOR TURN AND SPEED HOLDER NIQ | SENSORE PORTAIMAN GIRO E SPEED NIQ | 8 | 0 | 1 | 1 | 1 | 1 | 1
30450 | CARCASA EXTERIOR SENSOR GIRO NIQ | OUTER HOUSING GIRO SENSOR NIQ | SENSORE DI ALLOGGIO ESTERNO GIRO NIQ | 9 | 0 | 1 | 1 | 1 | 1 | 1
30451 | CAJA DISPLAY NIQ | DISPLAY BOX NIQ | SCATOLA DISPLAY NIQ | 18 | 1 | 1 | 1 | 1 | 1 | 1
30452 | BOCA CAIDA HIELO NIQ | ICE CHUTE EXIT NIQ | BOCCA GHIACCIO BOCCA NIQ | 20 | 0 | 1 | 1 | 1 | 1 | 1
30568 | SENSOR DE GIRO NIQ | NIQ SPIN SENSOR | SENSORE DI SPINNING NIQ | 68 | 0 | 1 | 1 | 1 | 1 | 1
30576 | ARANDELA INOX 30.1X40X2 | INOX WASHER 30.1*40X2 | RONDELLA INOX 30.1X40X2 | 27 | 0 | 1 | 1 | 1 | 1 | 1
30577 | JUNTA PLANA DIN 2690 DN15 PN6 NBR 70 SHORE 22X43X3 | JOINT DIN 2690 | GUARNIZIONE PIATTA DIN 2690 PN6 NBR 22X43X3 | 5 | 0 | 1 | 1 | 0 | 1 | 0
30590 | ROMPE HIELOS ESCAMAS NIQ300 | ICE BREAKER SCALES NIQ300 | ROTTURA DI BILANCE DI GHIACCIO NIQ300 | Consultar/Consult | 0 | 0 | 0 | 0 | 1 | 0
30690 | CURVA EVAPORADOR MS22 | EVAPORATOR CURVE MS22 | MS22 CURVA EVAPORATORE | 8 | 1 | 0 | 0 | 0 | 0 | 0
30732 | TUBO CAIDA DE HIELO NIQ300 | ICE CHUTE NIQ300 | TUBO CADUTA GHIACCIO NIQ300 | 23 | 0 | 0 | 1 | 0 | 1 | 0
30782 | ARANDELA DIN 127 M-8 GROVER INOX | ARAND. DIN 127 M-8 GROVER INOX | Arand. DIN 127 M-8 GROVER INOX | 3 | 0 | 1 | 1 | 1 | 1 | 1
30791 | BRIDA TUBO CAIDA NIQ | NIQ DROP TUBE FLANGE | FLANGIA DEL TUBO DI CADUTA NIQ | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
30792 | BASE CAJA ELÉCTRICA NIQ | BASE ELECTRICAL BOX NIQ | BASE SCATOLA ELETTRICA NIQ | 21 | 0 | 0 | 1 | 1 | 1 | 1
30850 | CONEXION SALIDA DESAGÜE | DRAIN FORCE FITTING | COLLEGAMENTO USCITA SCARICO | 9 | 1 | 0 | 1 | 1 | 1 | 1
30855 | TUBO ACOMETIDA AGUA NIQ | WATER SUPPLY PIPE NIQ | TUBO NIQ ACCESSO ALL'ACQUA | 20 | 0 | 1 | 1 | 1 | 1 | 1
30856 | TUBO DESAGUE NIQ | DRAIN PIPE NIQ | NIQ DRAIN TUBE | 12 | 0 | 0 | 1 | 1 | 1 | 1
30910 | TORN. CH88H 3.9X25 CINC. NEGRO (9N3925CH88H) | SCREW CH88H 3.9Z25 ZINC BLACK | VITE. CH88H 3.9X25 ZINC. NERO (9N3925CH88H) | 3 | 0 | 0 | 1 | 1 | 1 | 1
31259 | CAJA SENSOR PARO | STOP SENSOR BOX | ARRESTA SCATOLA SENSORE | 7 | 0 | 1 | 1 | 1 | 1 | 1
31274 | TAPA CAJA ELÉCTRICA NIQ | NIQ ELECTRICAL BOX COVER | COPERCHIO SCATOLA ELETTRICA NIQ | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
31307 | COMPRESOR NEU6220U (16.8CC) CSR 220-240/50 R290 | COMPRESSOR NEU6220U (16.8CC) CSR 220-240/50 R290 | COMPRESSORE NEU6220U (16.8CC) CSR 220-240 / 50 R290 | 370 | 0 | 1 | 0 | 0 | 0 | 0
31424 | ROMPE HIELOS NUGGET NIQ500 | NUGGET NIQ500 ICE BREAKER | PUGLIA GHIACCIO NIQ500 | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 0
31425 | ROMPE HIELOS ESCAMAS NIQ500 | NIQ500 FLAKE ICE BREAKER | ROTTURA DI BILANCE DI GHIACCIO NIQ500 | 74 | 0 | 0 | 0 | 0 | 0 | 1
31444 | DISTRIBUIDOR DES-GC C/PRESOSTATO | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 15 | 1 | 1 | 1 | 0 | 1 | 0
31463 | BANCADA NIQ (31463RB) | NIQ BENCH | NIQ BANKING | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
31464 | PILAR DELANTERO DCHO NIQ (31464RB) | RIGHT FRONT PILLAR NIQ | PILASTRO ANTERIORE DESTRO NIQ | 11 | 0 | 0 | 1 | 1 | 1 | 1
31465 | PILAR DELANTERO IZQ NIQ (31465RB) | LEFT FRONT PILLAR NIQ | PILASTRO ANTERIORE IZQ NIQ | 11 | 0 | 0 | 1 | 1 | 1 | 1
31467 | PILAR TRASERO IZQ NIQ (31467RB) | REAR LEFT PILLAR NIQ | PILASTRO POSTERIORE IZQ NIQ | 12 | 0 | 0 | 1 | 1 | 1 | 1
31468 | CARTELA PILAR NIQ (31468RB) | PILLAR NIQ CARD | CARTA PILASTRO NIQ | 8 | 0 | 0 | 1 | 1 | 1 | 1
31469 | CARTELA PILAR SIMÉTRICA NIQ (31469RB) | NIQ SYMMETRICAL PILLAR CARD | SCHEDA PILASTRO SINTETICA NIQ | 9 | 0 | 0 | 1 | 1 | 1 | 1
31470 | TIRANTE LATERAL NIQ (31470RB) | SIDE BRACE NIQ | NIQ SIDE STRIP | 10 | 0 | 0 | 1 | 1 | 1 | 1
31472 | TIRANTE TRASERO NIQ (31472RB) | REAR SUPPORT NIQ | CINGHIA POSTERIORE NIQ | 12 | 0 | 0 | 1 | 1 | 1 | 1
31473 | FRENTE FIJO NIQ (31473CT) | NIQ FIXED FRONT | ANTERIORE FISSO NIQ | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
31474 | LATERAL DCHO NIQ (31474CT) | NIQ RIGHT SIDE PANEL | LATO NICH DESTRA | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
31475 | LATERAL IZQ NIQ (31475CT) | NIQ LEFT SIDE PANEL | SIDE IZQ NIQ | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
31476 | TRASERA NIQ (31476CT) | REAR NIQ | NIQ POSTERIORE | 27 | 0 | 0 | 1 | 1 | 1 | 1
31477 | SUJECION CUBETA NIQ 300 (31477RB) | NIQ 300 TRAY FIXING | SUPPORTO TUBO NIQ 300 | 10 | 0 | 0 | 1 | 0 | 1 | 0
31483 | SOPORTE CAJA PLACA GENERAL NIQ (31483RB) | GENERAL PLATE BOX SUPPORT NIQ | SUPPORTO GENERALE NIQ BOX BOX | 9 | 0 | 0 | 1 | 1 | 1 | 1
31524 | VALVULA EXPANSION ORIF.4 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.4 (R290) 1/4X1/2 | 139 | 0 | 1 | 1 | 0 | 1 | 0
31544 | CLIP PLACA CB SPT-DUAL LOCK-NATURAL (DLCBS8-3-01) | ELECTRONIC BOARD CLIP | CLIP PLACCA CB SPT-DUAL LOCK-NATURAEL (DLCBS8-3-01) | 5 | 0 | 1 | 0 | 0 | 0 | 0
31604 | EVAPORADOR NIQ300 TERMINADO |  |  | 1843 | 0 | 0 | 1 | 0 | 1 | 0
31746 | PASACABLES D20 (30007 GROM OPEN 20X1/16) | WIRE HOLE | PASSACAVI D20 (30007 PASS. APERTO 20X1/16) | 12 | 1 | 1 | 1 | 1 | 1 | 1
31777 | AISLAMIENTO EVAP. NIQ 500 | INSULATED EVAP. NIQ 500 | ISOLAMENTO EVAP. NIQ 500 | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 1
31780 | MONTAJE ENTRADA AGUA NIQ A 220V/50-60HZ | NIQ WATER INLET ASSEMBLY AT 220V/50-60HZ | MONTAGGIO INGRESSO ACQUA NIQ A 220V/50-60HZ | 26 | 0 | 0 | 1 | 1 | 1 | 1
31781 | REBOSADERO NIQ -70MM TU CRISTAL 12-15- | NIQ OVERFLOW -70MM YOUR GLASS 12-15- | FLOODING NIQ -70MM YOUR CRYSTAL 12-15- | 5 | 0 | 1 | 1 | 1 | 1 | 1
31786 | ASPIRACION NIQ300 | SUCTION NIQ300 | ASPIRAZIONE NIQ300 | 26 | 0 | 0 | 1 | 0 | 1 | 0
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | TELAIO GRUPPO 3 LUNGHEZZA 825-815-790-780 | 7 | 1 | 0 | 0 | 0 | 0 | 0
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 8 | 0 | 0 | 1 | 1 | 1 | 1
32346 | VALVULA EXPANSION TUB 068U3831 ORIF.5 (R290) 6X12 | EXPANSION VALVE R290 | VALVOLA ESPANSIONE TUB 068U3831 ORIF.5 (R290) 6X12 | 140 | 0 | 0 | 0 | 1 | 0 | 1
32368 | SOPORTE RETEN EVAPORADOR NIQ500 | EVAPORATOR SEAL SUPPORT NIQ500 | SUPPORTO RIVENDITORE EVAPORATORE NIQ500 | 151 | 0 | 0 | 0 | 1 | 0 | 1
32371 | JUNTA PLANA DIN 2690 PN10 NBR 28X60X3 | FLAT GASKET DIN 2690 PN10 NBR 28X60X3 | GUARNIZIONE PIATTA DIN 2690 PN10 NBR 28X60X3 | 6 | 0 | 0 | 0 | 1 | 0 | 1
32416 | INTERRUPTOR A1 NEGRO 10A AT | MAIN SWITCH | INTERRUTTORE A1 NERO 10A AT | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
32440 | CUBETA DESAGÜE FORZADO |  | Vassoio di scarico forzato | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
32451 | VALVULA DE RETENCION RX3/4 | CHECK VALVE RX3/4 |  | 10 | 1 | 0 | 0 | 0 | 0 | 0
32455 | TUBO DESAGÜE FORZADO ASPIRACIÓN NG | DRAIN FORCE PUMP SUCTION TUBE |  | 12 | 1 | 0 | 0 | 0 | 0 | 0
32457 | TUBO DESAGUE FORZADO IMPULSION | PUMP OUT DRAIN FORCE TUBE |  | 9 | 1 | 0 | 0 | 0 | 0 | 0
32493 | CABLEADO DESAGÜE FORZADO |  |  | 18 | 1 | 0 | 0 | 0 | 0 | 0
32500 | SUJECIÓN CUBETA NIQ 500 (32500RB) | NIQ 500 TRAY FIXING | SUPPORTO TUBO NIQ 500 | 9 | 0 | 0 | 0 | 1 | 0 | 1
32502 | RELE FINDER 668282404303 240VAC 2NA 30A ATEX | FINDER RELAY 668282400303 240VAC 2NO 30A ATEX | RELE FINDER 668282400303 240VAC 2NA 30A ATEX | 116 | 0 | 1 | 1 | 1 | 1 | 1
32568 | PLACA ELECTRONICA DESAGÜE FORZADO 220/ 50-60 | ELECTRONIC BOARD DRAIN FORCE 220V/50HZ |  | 93 | 1 | 0 | 0 | 0 | 0 | 0
32571 | CONJUNTO CUBETA DESAGÜE FORZADO NG SPIKA-NG | DRAIN FORCE BUCKET SET |  | 124 | 1 | 0 | 0 | 0 | 0 | 0
32573 | SOPORTE BOMBA DESAGÜE FORZADO (32573CT) | DRAIN FORCE PUMP SUPPORT |  | 7 | 1 | 0 | 0 | 0 | 0 | 0
32621 | TAPA VENTANA SENSOR OPTICO NIQ (32621RB) | WINDOW COVER OPTICAL SENSOR NIQ | ANTERIORE FISSO NIQ | 8 | 0 | 0 | 1 | 1 | 1 | 1
32624 | BOMBA DESCARGA 220/50Hz | DRAIN FORCE PUMP |  | 60 | 1 | 0 | 0 | 0 | 0 | 0
32636 | TUBO DESAGÜE FORZADO DESCARGA CUBA NG 30 | DRAIN FORCE TUBE DISCHARGE BIN |  | 9 | 1 | 0 | 0 | 0 | 0 | 0
32658 | MICROINTERRUPTOR MFI.EX S/PALANCA |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1
32695 | DISTRIBUIDOR DES-GC C/PRESOST. 1/4"-3/8 X3/8" | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 45 | 0 | 0 | 0 | 1 | 0 | 1
32730 | CONDENSADOR 10X3 2V P230 T1/4 | AIR CONDENSER | CONDENSATORE 10X3 2V P230 T1/4 | 205 | 0 | 1 | 0 | 0 | 0 | 0
32895 | MOTOR VENT. NIQ3224-330450 100-240 V 50/60HZ 1550 RPM | FAN MOTOR 100-240 V 50/60HZ |  | 138 | 0 | 0 | 1 | 1 | 1 | 1
32968 | CHAPA ANTI REFLUJOS NG110 R290 (32968RB) |  | FOGLIO ANTI REFLUJOS NG80 R290 | 8 | 0 | 1 | 0 | 0 | 0 | 0
33266 | TUBO CAIDA DE HIELO NIQ300 AISLADO | ICE CHUTE NIQ300 AISLADO | TUBO CADUTA GHIACCIO NIQ300 ISOLATO | Consultar/Consult | 0 | 0 | 1 | 0 | 1 | 0
33267 | TUBO CAIDA DE HIELO NIQ500 AISLADO | ICE CHUTE NIQ500 AISLADO | TUBO CADUTA GHIACCIO NIQ500 ISOLATO | 39 | 0 | 0 | 0 | 1 | 0 | 1
33302 | COMPRESOR EMX6181U (6.92CC) CSIR 220-240/50-60 R290 | COMPRESSOR (7.28CC) 220-240/50 R290 | COMPRESSORE (7.28CC) 220-240/50 R290 | 254 | 1 | 0 | 0 | 0 | 0 | 0
33534 | TUBO CAIDA HIELO NIQ | ICE CHUTE NIQ | TUBO CADUTA GHIACCIO NIQ | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1
33589 | CUBA STOCK NG DP90 - NIQ COMPACTA TERMINADA (33589CO) | STOCK BIN NG-110 | CUVA CONTENITORE NG DP90 (7322CO) | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33600 | SOPORTE PLACA NIQ COMPACTA (33600RB) |  | NIQ POSTERIORE | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33601 | TRASERA NIQ COMPACTA (33601RB) |  | NIQ POSTERIORE | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33602 | ENVOLVENTE CUBA NIQ COMPACTA (33602RB) |  | LATO NICH DESTRA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33603 | TAPA ENVOLVENTE CUBA NIQ COMPACTA (33603RB) |  | LATO NICH DESTRA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33604 | ESQUINERA ENVOLVENTE CUBA NIQ COMPACTA DRCH (33604CT) |  | LATO NICH DESTRA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33605 | SOPORTE CUBA AGUA NIQ COMPACTA (33605CT) |  | NIQ POSTERIORE | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33607 | FRENTE SUPERIOR NIQ COMPACTA (33607RB) |  | ANTERIORE SUPERIORE NG-70 | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33615 | ASPIRACION NIQ COMPACTA |  | ASPIRAZIONE NIQ300 | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33726 | ESQUINERA ENVOLVENTE CUBA NIQ COMPACTA IZQ (33726CT) |  | LATO NICH DESTRA | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
33785 | HUSILLO DOBLE HELICE NIQ100 |  | ELICE A MANDRINO DOPPIO NIQ300 | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33863 | RETEN G 14X20X3 | DOUBLE LIP SEAL | ANELLO DOPPIA TENUTA | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33865 | ROMPE HIELOS NUGGET NIQ100 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33872 | CIERRE MEC. ROTEN 2 D.024 DER. X7GV7 | MECH. CLOSURE ROTEN 2 D.024 DER. X7V7 | CHIUDI MEC. ROTEN 2 D.024 DER. X7GV7 | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33874 | TAPA BOCA CAIDA HIELO NIQ100 | ICE CHUTE EXIT NIQ100 | BOCCA GHIACCIO BOCCA NIQ100 | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34048 | FRENTE SUPERIOR IQ-85 DISPLAY (34048RB) |  | ANTERIORE SUPERIORE IQ-85 | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34122 | CUBETA AGUA NIQ100 |  | BACINELLA ACQUA GRIGGIO NIQ | 13 | 1 | 0 | 0 | 0 | 0 | 0
34123 | TAPA CUBETA AGUA NIQ100 |  | BACINELLA ACQUA GRIGGIO NIQ | 17 | 1 | 0 | 0 | 0 | 0 | 0
34150 | JUNTA TORICA OR 2,62x107,62 NBR 70 Sh NSF 61 NEGRA | O-RING 8X3 | GUARNIZIONE TORICA 8X3 | 4 | 1 | 0 | 0 | 0 | 0 | 0
34159 | TORN. DIN 912 M-5X10 INOX A2 | SCREW DIN 912 M5X6 | VITE DIN 912 M5X6 | 8 | 1 | 0 | 0 | 0 | 0 | 0
34357 | SOPORTE PLACA BOMBA DESCARGA |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34407 | ANILLO SUJECIÓN BOCA SALIDA NIQ100 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34491 | CLIP PLACA SR 2721 - NATURAL (MDLSP2-07M-01) |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34552 | CUBA AGUA IQ GRIS CON ELECTRODOS |  |  | 30 | 1 | 0 | 0 | 0 | 0 | 0
34611 | ASPIRACION NIQ500 NTX R290 |  |  | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 1
34652 | MOTORREDUCTOR PENDULAR MONOF. SMM 5624 0,09Kw 4P B14 220/50HZ + FT105/3 56B14 D20 i= 224,3 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34851 | ARANDELA DIN 127 M-6 GROVER INOX |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
34859 | BASCULANTE PUERTA NG80-100 |  |  | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
35078 | PINZA SUJETAPALAS |  |  | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0
35099 | TORN. DIN 912 M-6X20 INOX A2 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35173 | PALA VENT. 300X19º ALUM. | FAN BLADE 300X19º |  | 8 | 0 | 0 | 1 | 1 | 1 | 1
35260 | PANEL PILOTOS NIQ S/CABLE 2.0 |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1
35285 | EVAPORADOR NIQ100 TERMINADO |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35369 | TUBO BOMBA DESCARGA IQN 90C |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35372 | CUBA STOCK NIQ-90 AZUL TERMINADA ELECTRONICA (35372CO) |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35373 | CUBA STOCK NIQ-90 AZUL |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35459 | ASPIRACION IQN 90C A 220/50 R290 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35462 | CONJUNTO EVAP. NIQ100 + MR. FT105 220/50 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35564 | JUNTA TORICA 120x3.5 EPDM 70 Sh NEGRA |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35947 | TORN. DIN 7981 3.5X9.5 INOX A2 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
113A | CLIP REMATE BOCA | CLIP | CLIP FERMO BOCCA | 8 | 1 | 1 | 0 | 0 | 0 | 0
140A | COMPAS PUERTA NG DCHO | DOOR RIGHT COMPASS NG MODELS | COMPASSO PORTA NG DESTRA | 30 | 1 | 1 | 0 | 0 | 0 | 0
141A | COMPAS PUERTA NG IZDO | DOOR LEFT COMPASS NG MODELS | COMPASSO PORTA NG SINISTRA | 30 | 1 | 1 | 0 | 0 | 0 | 0
161A | PILAR TRASERO NG-40 (161ARB) | BACK SIDE COLUMNE NG | PILASTRO POSTERIORE NG-40 | 19 | 1 | 0 | 0 | 0 | 0 | 0
1966A | CUBA AGUA NIQ GRIS | WATER TRAY NIQ GREY | BACINELLA ACQUA GRIGGIO NIQ | 56 | 0 | 1 | 1 | 1 | 1 | 1
1968G | TAPA REGISTRO CUBA IQ GRIS | WATER BIN COVER | COPERCHIO REGISTRO GRIGIO VASCA IQ | 10 | 0 | 1 | 1 | 1 | 1 | 1
207A | PILAR ACOMETIDAS NG-40 (207ARB) | MULTIPLE OUT PUT COLUMNE NG | PILASTRO COLLEGAMENTI NG-40 | 21 | 1 | 0 | 0 | 0 | 0 | 0
2300A | INTERRUPTOR UNIPOLAR EX |  |  | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0
30249D | MOTOREDUCTOR NIQ 0.25KW EJE INOX 220V 50/60HZ |  |  | 2099 | 0 | 0 | 0 | 1 | 0 | 1
30445B | TAPA SALIDA HIELO NIQ | NIQ ICE EXIT LID | COPERCHIO USCITA GHIACCIO NIQ | Consultar/Consult | 0 | 1 | 1 | 1 | 1 | 1
30492A | JUNTA TORICA 64,00x3,00 NBR 70 Sh NSF 61 NEGRA |  |  | 5 | 0 | 1 | 1 | 0 | 1 | 0
30494A | JUNTA TORICA 20,00x3,00 NBR 70 Sh NSF 61 NEGRA | O-RING SEAL 20,00*3,00 NSF 61 BLACK | GUARNIZIONE TORICA NBR 70 Sh NSF 61 NERO | 6 | 0 | 1 | 1 | 0 | 1 | 0
30495A | RODAMIENTO INOX (20x42x12) | BEARING INOX | CUSCINETTO INOX (20x42x12) | 100 | 0 | 1 | 1 | 0 | 1 | 0
30496A | JUNTA TORICA 69,44x3,53 NBR 70 Sh NSF 61 NEGRA | TORIC JOINT 69.44x3.53 NBR 70 Sh NSF 61 BLACK | GUARNIZIONE TORICA 69,44x3,53 NBR 70 Sh NSF 61 NERO | 7 | 0 | 1 | 1 | 0 | 1 | 0
30499A | JUNTA TORICA 164.87x3.85 EPDM 65 Sh NEGRA | TORIC JOINT 164.87x3.85 EPDM | GUARNIZIONE TORICA 168.87x3.85 EPDM | 18 | 0 | 1 | 1 | 1 | 1 | 1
30562C | MOTOREDUCTOR NIQ 0.18 KW EJE INOX 220V 50/60HZ |  |  | 1991 | 0 | 1 | 0 | 0 | 1 | 0
30564E | PLACA CONTROL NIQ 220V 50/60HZ (V210) C/PLANO EX |  |  | 374 | 0 | 1 | 1 | 1 | 1 | 1
30589B | EXTRUSIONADOR ESCAMAS NIQ300 MECANIZADO DZR CW602N | FLAKES EXTRUDER NIQ300 MECHANIZED | ESTRUSORE FIOCCHI NIQ300 MECCANIZZATO DZR CW602N | 676 | 0 | 0 | 0 | 0 | 1 | 0
30889B | MOTOREDUCTOR ICE 3R NIQ 0.18KW 220V 50/60HZ |  |  | Consultar/Consult | 0 | 0 | 1 | 0 | 0 | 0
30939A | SONDA RAPIDA NTC 4X40 IP68 C/CONECTOR |  |  | 18 | 1 | 0 | 0 | 0 | 0 | 0
31160E | PRESOSTATO (11.5-13.5 BAR) R290 | FAN CONTROL PRESSURE SWITCH | PRESSOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | 36 | 1 | 1 | 1 | 1 | 1 | 1
31242B | EXTRUSIONADOR NUGGET NIQ300 TERMINADO | NUGGET EXTRUDER NIQ300 MECHANIZED | ESTRUSIONATORE FINITO NUGGET NIQ300 | 578 | 0 | 1 | 1 | 0 | 0 | 0
31244B | EXTRUSIONADOR NUGGET NIQ500 TERMINADO DZR CW602N | NUGGET EXTRUDER NIQ500 FINISHED DZR CW602N | ESTRUSORE NUGGET NIQ500 FINITO | 553 | 0 | 0 | 0 | 1 | 0 | 0
31245B | EXTRUSIONADOR ESCAMAS NIQ500 MECANIZADO DZR CW602N | NIQ500 MACHINED SCALE EXTRUDER DZR CW602N | ESTRUSORE FIOCCHI NIQ500 MECCANIZZATO DZR CW602N | 612 | 0 | 0 | 0 | 0 | 0 | 1
31261A | SENSOR PARO OPTICO NEW IQN |  |  | 384 | 0 | 1 | 1 | 1 | 1 | 1
31310A | COMPRESOR (27.8CC) CSR 220-240/50 R290 |  |  | 594 | 0 | 0 | 1 | 0 | 1 | 0
31466U | PILAR TRASERO DCHO NIQ R290 (31466URB) | RIGHT REAR PILLAR NIQ R290 | PILASTRO POSTERIORE DESTRO NIQ R290 | 10 | 0 | 0 | 1 | 1 | 1 | 1
31660E | PRESOSTATO (25-20 BAR) R290 | HIGH PRESSURE SWITCH | PRESSOSTATO NSDHA 12B00300 (25-20 BAR) R290 | 35 | 1 | 1 | 1 | 1 | 1 | 1
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 1 | 1
33784A | EVAPORADOR NIQ100 MECANIZADO |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33862A | RODAMIENTO AGUJAS SHK-1416.2RS INOX |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
33873A | BOCA CAIDA HIELO NIQ100 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
3421U | PUENTE NG-90 R290 (3421UCT) | CHASSIS NG110 | PONTE NG-90 | 94 | 0 | 1 | 0 | 0 | 0 | 0
34357CT | SOPORTE PLACA BOMBA DESCARGA |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
3436U | PILAR TRASERO NG-90 R290 (3436URB) | BACK PILAR NG-110 | PILASTRO POSTERIORE NG-90 | 6 | 0 | 1 | 0 | 0 | 0 | 0
35175A | TUBO W CUBETA- EVAPORADOR NIQ100 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35372CO | CUBA STOCK NIQ-90 AZUL CORTADA ELECTRONICA (35372PU) |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35372PU | CUBA STOCK NIQ-90 AZUL AISLADA ELECTRONICA (35373) |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
35626DF | CUADRO Y CABL. IQN 90C 220/50 R290 ELECTRONICA DP |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
3746U | PILAR TRASERO ACOMETIDAS NG-90 R290 (3746URB) | REAR INLET PIPE PILAR NG-110 | PILASTRO POSTERIORE NG-90 COLLEGAMENTI | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
3773A | CUBIERTA NG-90 (3773ACT) |  | COPERCCHIO NG-90 | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0
3969U | LATERAL NG 90/150 R290 (3969UCT) | RIGHT PANEL NG-110 | FIANCO DESTRO NG-90 | 158 | 0 | 1 | 0 | 0 | 0 | 0
4063A | REJILLA PLASTICO IQ85 NG-40 |  |  | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
4186A | REJILLA AIREACION NG-55 |  |  | 22 | 0 | 0 | 1 | 1 | 1 | 1
4188A | REJILLA AIREACION NG 70/90 | FRONT LOUVER NG70/90 |  | 21 | 0 | 1 | 0 | 0 | 0 | 0
486A | CONDENSADOR 8X3 C/B | AIR CONDENSER 8X3 | CONDENSATORE Q4V 8x3 C/B | Consultar/Consult | 1 | 0 | 0 | 0 | 0 | 0
489UA | LATERAL NG-40 R290 (489UACT) | SIDE PANEL | FIANCO DESTRO NG-40 R290 | 61 | 1 | 0 | 0 | 0 | 0 | 0
506U | PUENTE NG-40 R290 (506UCT) | BRIDGE NG-40 R290 | PONTE NG-40 R290 | 21 | 1 | 0 | 0 | 0 | 0 | 0
635A | TRASERA NG-40 (635ACT) | REAR COVER | POSTERIORE NG-40 | 11 | 1 | 0 | 0 | 0 | 0 | 0
920A | CUBIERTA NG-40 (920ACT) | TOP PANEL | COPERCHIO NG-40 | 45 | 1 | 0 | 0 | 0 | 0 | 0