## QUASAR
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | QUASAR 20 A 220V 50HZ | QUASAR 20 W 220V 50HZ | QUASAR 20 PLUS A 220V 50HZ | QUASAR 20 PLUS W 220V 50HZ | QUASAR 30A 220V 50HZ | QUASAR 30 W 220V 50HZ | QUASAR 40A 220V 50HZ | QUASAR 40 W 220V 50HZ | QUASAR 50A 220V 50HZ | QUASAR 50 W 220V 50HZ | QUASAR 60A 220V 50HZ | QUASAR 60W 220V 50HZ | QUASAR 90A 220V 50HZ | QUASAR 90W 220V 50HZ | QUASAR 130A 220V 50HZ | QUASAR 130W 220V 50HZ | QUASAR 150A 220V 50HZ
11 | ALETA DE TOPE Q 20-30-40 | STOP WING 20-30 | ALETTA IL TOP Q 20 30 40 | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | EJE ALETA Q 20-30-40 (MEC.PARO) | WING SHAFT 20 | ALBERO ALETTA Q20 30 40(MEC .FERMO) | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31 | TUBO CAPILAR 1 X 2 (44.8M=1K)(0.02232KM) | CAPILLARY TUBE 1 X 2 | TUBO CAPILLARE 1 X 2 (47.55 M = 1 K) (0.02103 KM) | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | TUBO CAPILAR 1'3 X 2'3 (0.02698 KM) | CAPILLARY TUBE 1,3 X 2,3 | TUBO CAPILLARE 1'3 X 2'3 (0.0267KM) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
46 | CASQUILLO EMPALME CARDAN | PADDLE MOTOR COUPLING BUSH | GIUNTO COLLEGAMENTO ALBERO | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | TUERCA 506-3B 213050-2 (5280) DELTATONE | NUT 506-3B | DADO 506-3B 213050-2 (5280) DELTATONE | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
52 | CASQUILLO MECANISMO PARO | STOP MECHANISM BUSHING | SEPARATORE MECCANISMO ARRESTO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
53 | TORN. DIN 912 M-6X80 INOX A2 | ADJUSTING SPRING FOR TRAY | VITE DIN 912 M-6X80 INOX A2 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
56 | SOPORTE MUELLE | SUPPORT SPRING | SUPPORTO MOLLA | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
58 | DEFLECTOR CUBITOS Q34-5-40 (58RB) | EJECT CUBE GRILL 40-50 | DEFLETTORE CUBTETI Q34-5-40 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | DEFLECTOR CUBITOS Q6-65 (59RB) | EJECT CUBE GRILL Q60 | DEFLECTORE CUBETI 70 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
60 | DEFLECTOR CUBITOS Q8-85. (60RB) | EJECT CUBE GRILL Q90 | DEFLETORE CUBETI 90 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
68 | BIELA CUBA AGUA 2/1-51A-50-49 | WATER TRAY ARM | BIELLA BACCINELLA ACQUA 2/1-51A-50-49 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
92 | TAPON GPN 300 F21 | CAP | TAPPO GPN 300 F21 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
93 | TORN. DIN 7982 3.9X19 INOX | SCREW R/CH 3.9X19 D 7982 PH INOX | VITE DIN 7982 3.9X19 INOX | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
126 | DEFLECTOR CANALON CUBA DE AGUA (126RB) | WATER DEFLECTOR | DEFLETTORE CANALLE ACQUA CUVA | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
138 | TAPA CAJA MOTOR AGITADOR | PADDLE MOTOR TOP COVER | COPERCHIO MOTORE AGITATORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
165 | DESAGÜE CUBA | DRAIN TRAY | SCARICO CUVA | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
168 | COJINETE ABIERTO (169) | NYLON TRAY BEARING | CUSCUNETTO APERTO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
175 | CABEZAL FABRICACION (PLAS) Q20 | HYDRAULIC BASEMENT Q20-40 | ASSIEME EVAPORATORE Q 20 | 26 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
178 | PINZA FIJACION | WATER PAN PLASTIC HOLDING | PINZA AFFISSIONE | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
202 | RESORTE SEGURIDAD BANDEJA D.1.8 MM | WATER PAN SEGURITY SPRING | MOLLA SICUREZZA BACCINELA 1.8 mm | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
217 | RESORTE SEGUR.BAND.Q20-30-40 1.6MM | WATER PAN SECURITY SPRING 1.6M/M | MOLLA SICUREZZA BASCINELLA Q20-30-40 1.6 mm | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
220 | TORN. DIN 933 M-5X20 INOX |  |  | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
247 | TORN. DIN 7985 M-5X25 INOX | SCREW DIN 7985 M-5X15 INOX | VITE DIN 7985 M-5X25 INOX | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | VITE DIN 933 M-5X10 INOX | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
255 | ESPARRAGO DIN 916 M-4X4 INOX A2 | KEYWAY SCREW M4*5 D916 | MANICOTTO DIN 916 M-4X4 ACCIAIO INOSSIDABILE A2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | DADO DIN 934 M-5 INOX | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | DADO DIN 934 M-4 INOX | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
261 | TUERCA DIN 934 M-6 INOX | NUT M6 D934 STAINLESS | DADO DIN 934 M-6 INOX | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
263 | ARANDELA DIN 125 M-6 INOX | WASHER STAINLESS M6 D 125 | RONDELLA DIN 125 M-6 INOX | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
264 | ARANDELA DIN 125 M-5 INOX | WASHER STAINLESS M5 D125 | RONDELLA. DIN 125 M-5 INOX | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
267 | PASADOR ALETA 2X20 D94 INOX A2(RECOCIDO) | WING PIN 2*20 STAINLESS | SPILLO ALETTA 2x20 D94 INOX A2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | VITE DIN 7981 4.8*12.7 INOX A2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
313 | MANGUITO ELASTICO DIN 1481 3X20 INOX A2 | ELASTIC TUBE 3*20 | MANICOTTO ELASTICO DIN 1481 3X20 INOX A2 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
314 | MANGUITO ELASTICO DIN 1481 2'5X18 INOX A2 | ELASTIC PIN 2,5*18 110034-0 | MANICOTTO ELASTICO DIN 1481 2,5x18 INOX A2 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | TUBO CRISTAL 4-6 C0403 / CL / 0030 / CD | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0
329 | VALV AGUA 3.5 B (1152) | INLET WATER VALVE | ELETTROVALV. ACQUA 3.5 B | 17 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
334 | PRESOSTATO SEGURIDAD (30.3-21.7KG) | SAFETY PRESSURE SWITCH | PRESSOSTATO ACB-2UB62(30.3-21.7)02AC0076 | 42 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
335 | VALVULA SCHRADER 1/4" CAP.S/LLAVE OBUS COMPLETO | VALVE FOR REFRIGERANT REFILL | VALVOLA SCHRADER 1/4 CON VALVOLINA | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
355 | RESORTE ENT AGUA Q20-30-40 0.8M/M | WATER INLET RESORT | MOLLA ENTR. AQUA 20-30-40 0.8mm | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
358 | BOLSA 115x121 FUELLE 27x27 G-300 | BAG 1210X1150 G300 P 62 | BORSA 115x121 FUELLE 27x27 G-300 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
371 | CAJA MICRO DCHA(MOTOR VOLTEADOR) | MICRO-SWITCH BOX (R) | SCATOLA MICRO DESTRA (MOTOR RIBALTAMENTO) | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
372 | CAJA MICRO IZDA.(M.PARO Y BOYA) | MICRO SWITCH BOX (L) | SCATOLA MICRO SINISTRA(M.ARRESTO E GALLEGIANTE) | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
387 | MICRO 83160065 IW3 ACC 153EX R=28.7 | MICRO-SWITCH ROLER-ARM | MICRO 83160065 IW 3 ACC 153EX R=28.7 | 17 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
388 | MICRO BOYA 831604 IW3 ACC.75600175 (X0222031) | FLOAT MICRO SWITCH | MICRO GALLEGGIANTE 831604 IW3 ACC.75600175 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
389 | TUBO CRISTAL 12-15 C1201/CL/0030/CD | GLASS TUBE 12-15 | TUBO CRISTAL 12-15 C1201 / CL / 0030 / CD | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
400 | REGLETA MAY 2 ELEM. TERM.6,35 RP4410007 | SEALED SPADE CONNECTOR 2 WAY | CONNETTORE MAY 2 POSTI 6.35 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
404 | VALV.AGUA 3.5 B/1 B (1151) | INLET WATER VALVE DOUBLE | ELETTROVALVOLA ACQUA 3.5B/1B | 29 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
410 | MOTOR VENTILADOR 18W+PIE H84 220/50 | FAN 250-83 | MOTOVENTILATORE 18W +PIE H84 220/50 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
445 | MOTOR VENT.10W+PIE H84 220/50 M4Q045-CA03-49 | FAN MOTOR 10W 250 | MOTOVENTILATORE 10W+PIE H84 220/50 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
449 | DESHIDRATADOR 20GR 1E 2S 1/4"(SM320S209) | 20 GR. DRIER 1/4 125 MM | DESHIDRATORE 20 GR.1E 2S 1/4 (SM320S209) | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | BOBINA YB09 230 / 50-60Hz 304398 (5173) | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
554 | COJINETE TRASERO MOTOR AG. Q20-30 | PADDLE MOTOR BACK BEARING | BUSSOLA POSTERIORE M. AGITATORE Q20-30 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
556 | COJINETE AGITADOR Y CUBA W Q20-30 | PADDLE MOTOR BEARING Q20-40 | BUSSOLA AGITATORE E CUVA W Q2030 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
558 | SOPORTE EJE BANDEJA (CUBA W) Q20-30 | WATER TRAY AXIS SUPPORT Q20-40 | SUPPORTO ASSE CUBETTA (CUVA W)Q20-30 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
559 | COJINETE DELANTERO MOTOR AGITADOR | PADDLE MOTOR FRONT BEARING 20 | BUSSOLA ANTERIORE MOTORE AGITATORE | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
564 | SOPORTE EVAPORADOR Q20-30-40 | EVAPORATOR SUPPORT Q20-40 | SUPPORTE EVAPORATORE Q 20-30-40 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
587 | PALA VENT. 172x34º ALUM.73806-2-3634 | FAN BLADE 172X34º | PALA VENTILATORE 172x34º ALLUM.73806-2-3634 | 7 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
593 | RECOGE AGUA QUASAR | DRAIN BIN | RACCOLTA ACQUA QUASAR | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
595 | SOPORTE MICRO BOYA Q20-40 | MICRO SUPPORT | SUPPORTE MICRO GALLEGIANTE Q 20-40 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
614 | TAPON UNIVERSAL PULSAR | STANDARD STOPPER | TAPPO UNIVERSALE PULSAR | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0
674 | SUPLEMENTO EJE CUBA AGUA Q 20-30 | WATER TRAY SUPPLEMENT Q20-40 | SUPPLEMENTO ASSE BACINELLA DI ACQUA Q 20-30 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
731 | PASACHAPAS DIAMETRO 50 | HOLE BUSHING RING | PASSACAVO DIAMETRO 50 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
762 | VALV.PARKER 127ALS 1.9 360144 | PARKER VALVE VE127ALS 1.9 220V | VALV.PARKER 127ALS 1.9 360144 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
766 | REJILLA DESAGUE LAVABO | BIN DRAIN GRILL | GRIGLIA DI SCARICO LAVANDINO | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
803 | FIJACION EJE SRR-5 REF.211009-7 | FIXING DOOR ACHSE | FISSAGGIO ASSIALE SRR-5 REF. 21009-7 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
810 | ALETA TOPE MEC. PARO Q3.34.5 | STOP WING 4 | ALETTA TOP MEC.ARRESTO Q3.34.5 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
811 | ALETA TOPE MEC. PARO Q6.65 | STOP WING 6 | ALETA PUNTA | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
812 | ALETA TOPE MEC. PARO Q8.85 | STOP WING 8 | ALETTA TOP MEC.ARRESTO Q8,85 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
813 | EJE ALETA Q3.34.5 | WING SHAFT 4 | ALBERO ALETTA Q3 34.5 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
814 | EJE ALETA Q6.65 | WING SHAFT 6 | ASSE ALETTA 6 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
815 | EJE ALETA Q8.85 | WING SHAFT 9 | ASSE ALETTA 9 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
816 | SOPORTE EJE ALETA T.M.P. | WING SHAFT SUPPORT | SUPPORTO ASSE ALETTA T.M.P. | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
817 | RESORTE MUELLE POSICIONADO ALETA | BASCULE FLAP SPRING | MOLLA POSIZIONAMENTO ALETTA | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | FASCETTA PEER TUBO RICH 101 (11.9-13.5) | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0
856 | PERFIL VINIGOM GRIS-3124- (PL1/109) | PERFIL VINIGOM | PROFILO VINIGOM GRIGGIO-3124- (PL1 / 109) | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
914 | T SOLDAR 3/8 | T WELD 3/8 | TEE SALDATURA 3/8 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
1001 | COJINETE PUERTA NG NEGRO | DOOR BUSHING | BUSSOLA PORTA NG NERA | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1028 | RESTRICTOR 3.5L/MIN VERDE VALV.ENT.W(1054) | WATER REGULATOR 3.5 L/M' | RESTRITTORE 3.5L / MIN VALV.ENT.W (1054) verde | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1065 | REJILLA PASO DE AGUA (PLASTICO) | GRILL WATER PASSAGE (PLASTIC) | GRIGLIA PASSA ACQUA(PLASTICO) | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | VALV.PARKER127 CLS 2.5 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
1483 | RELE OMRON MY2F 5 A 220 V | RELE ONROM (1993/4) | RELE ONROM | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1700 | GUIA PUERTA DCHA.Q20-30 | RIGHT DOOR GUIDE Q20-40 | GUIDA SPORTELLO DESTRO Q20-30 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1701 | GUIA PUERTA IZDA Q20-30 | LEFT DOOR GUIDE Q20-40 | GUIDA SPORTELLO SINISTRO Q 20-30 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1706 | GUIA PUERTA DCHA. Q40S-130 | RIGHT DOOR GUIDE Q34-6-8-P145 | GUIDA SPORTELLO DESTRO Q40S-130 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1707 | GUIA PUERTA IZDA. Q40S-130 | LEFT DOOR GUIDE Q34-6-8-P145 | GUIDA SPORTELLO SINISTRO Q40S-130 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1715 | TOPE PUERTA CORREDIZA | SLIDING DOOR STOPPER | FERMO SPORTELLO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1716 | RUEDA SEPARADOR PUERTA CORREDIZA | SLIDING DOOR WHEEL | BUSSOLA SPORTELLO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
1717 | DESHIDRATADOR 30GR 1E 2S 1/4"(SM330S309) | DRIER 30GR 1E 2S 1/4 | DESHIDRATATORE 30GR 1E 2S 1/4(SM330S309) | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1982 | CUBIERTA CABEZAL NQ20-30-40 | HEAD PRODUCTION COVER 20 | COPERCCHIO ASSIEME EVAPORATORE NQ20-30-40 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2073 | DEFLECTOR CUBITOS Q 130 C (2073RB) | EJECT CUBE GRILL Q130 | DEFLETTORE CUBETTI Q130C | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
2075 | EJE ALETA NQ 130 | WING SHAFT 130 | ALBERO ALETTA NQ130 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | MOTOVENTILATORE 5 W+PIE H52 220/50 | 35 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2171 | PATA SAB 20 | LEG (SHORT) | PIEDE PICCOLO (20) | 6 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2287 | INTERRUPTOR AZUL 22x30 BIPOLAR C/CAPUCHON UL SX825C18B1F210000 | ON/OFF SWITCH | INTERRUTTORE GENERALE ON/OFF | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2423 | CONDENSADOR STFT 12218 | CONDENSER STFT 12218 | CONDENSATORE | 107 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2432 | REMACHE GALV. M-5X12 HEX.CAB.REDUC. | RIVET | RIVETTO ZINC. M-5X12 HEX.CAB.REDUC. (PSZROH-0525-250) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
2440 | TUERCA FIJACION ITM (TOR 5'5) | PLASTIC NUT 5.5 | INSERTO IN PLASTICA ITM 5.5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2446 | MOTOR VENTILADOR 220-50/60 | FAN MOTOR | MOTOR VENTILATORE | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2471 | TEMPORIZADOR 10 MINUTOS HILOS RETARDO ON | 10' TIMER | TIMER 10 MINUTI H3DS-XL 2 FILI | 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0
2505 | REBOSADERO IQ -65MM TU CRISTAL 12-15- | OVERFLOW TUBE IQ | TUB TROPPO PIENO IQ -65MM YOUR CRYSTAL 12-15- | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3493 | RESORTE SEGURIDAD BANDEJA Q130 D 2.0MM | TRAY SECURITY SPRING | MOLLA DI SICUREZZA BACCINELA Q130 D 2.0MM | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3683 | CODO ROSCADO 3/4 MACHO X ESPIGA 25 (20111) | DRAIN FITTING | GOMITO FILETTATO 3/4 MASCHIO X MANICOTTO 25 (20111) | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3707 | TUBO 1/4 CURV. U/C -160- | TUBE 1/4 CURV. U/C -160- | TUBO 1/4 CURVO U / C -160- | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
3720 | TUBO 1/4 CURV. U/C -80- | CURVED TUBE 1/4. C/U -80- | TUBO 1/4 CURVO U / C -80- | 10 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
3763 | CAPILAR 2500 mm 2.3 x1.3 | CAPILLARY TUBE 2,3*1,3 | CAPILLARE 2500 mm 2,3 x1,3 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4231 | PALA VENT. 230X28º ALUM.73811-2-3634 | FAN BLADE | PALA VENT. 230X28º ALUM.73811-2-3634 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4307 | PATA NIVELADORA 40 M10X57 | LEVELLING FOOT 40 M10X57 | PIEDE LIVELLAMENTO 40 M-10X57 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4312 | OMEGA REFUERZO BANCADA ECP 52 (4312CT) | REINFORCEMENT OMEGA FOR BEDPLATE | OMEGA PIASTRA DI BASE ECP 52 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4326 | OMEGA REFUERZO CUBIERTA NG-140 (4326CT) | REINFORCEMENT TOP COVER NG-150 | OMEGA COPERCHIO RINFORZATO NG-140 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4476 | RESTRICTOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | WATER REGULATOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | RESTRICTORE 2.5L / MIN GIALLO VALV.ENT.W (1007) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4994 | PALA VENT. 254x34º ALUM.73815-2-3634 | FAN PADDLE | PALA VENT. ALLUMINIO 254x34º. 73815-2-3634 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
5010 | INYEC.RUEDA ACCIONA.CUBA Y MICROS(48) | CAM MOTOR WHEEL | INIEZIONE RUOTA AZIONA.CUVA E MICRO (48) | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5157 | CABLE MICRO PARADA | MICRO-STOP CABLE Q20-30 | CAVO MICRO STOP | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | BOBINA GAS CALDO 220V-50/60HZ | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5211 | PROTECCION MICROS 0.6(TIRAS=54MM) | MICRO SWITCH PROTECTOR 0.6 | PROTEZIONE MICRO 0.6 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
5212 | PROTECCION MICROS | MICRO SWITCH PROTECTOR | PROTEZIONE MICRO 0.6 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
5273 | CUBA AGUA 130 CON MECANISMOS | Q130 TRAY ASSEMBLY | ASSIEME BACINELLA ACQUA. MOD. 130 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
5360 | CUBA AGUA Q20-30 C/MECANISMOS | WATER PAN WITH MECH. Q20-30 | BACINELLA CON MECC. MOD. 20-30 | Consultar/Consult | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5364 | MOTOR AGITADOR Q20-30-40 | PADDLE MOTOR Q20-40 | MOTORIDUTTORE AGITATORE Q20-30-40 | 96 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5530 | EXPULSORA CUBITOS Q130 COMPLETA | ICE DEFLECTOR Q130 COMPLETE | SCIVOLLO CUBETTI Q 130 COMPLETO | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
5532 | EXPULSORA CUBITOS NQ40 COMPLETA | ICE CUBE RAMP Q30-40 | SCIVOLLO CUBETTI NQ40 COMPLETO | 40 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5537 | EXPULSORA CUBITOS Q20 COMPLETA (15) | ICE CUBE RAMP Q20 | ESPULSIONE DE CUBETI 2030 | 40 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5539 | EXPULSORA CUBITOS Q6 COMPLETA | ICE DEFLECTOR Q6 COMPLETE | ESPULSIONE DE CUBETI 60 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
5540 | EXPULSORA CUBITOS Q8 COMPLETA | ICE DEFLECTOR Q8 COMPLETE | ESPULSIONE DE CUBETI 90 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6007 | COMPRESOR NEK6217GK 14.3cc 220/240-50Hz R404 | COMPRESSOR NEK6217GK 14.3cc 220/240-50Hz R404 | COMPRESSORE NEK6217GK 14.3cc 220/240-50Hz | 378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6515 | COMPRESOR NEK6210GK 8.78cc 220/240-50Hz R404 | COMPRESSOR NEK6210GK 8.78cc 220/240-50Hz R404 | COMPRESSORE R404 da 8.78cc 220 / 240-50Hz NEK6210GK | 303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6643 | REMATE BOCA SILO DCHO | RIGHT OPEN ENDING | COPERTURA BOCCA BIN DESTRA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6644 | REMATE BOCA SILO IZDO | LEFT OPEN ENDING | COPERTURA BOCCA BIN SINISTRA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6735 | EJE BISAGRA SILO | BIN HINGE AXLE | ALBERO CERNIERA BIN | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6739 | BISAGRA SILO DCHA | BIN RIGHT HINGE | CERNIERA BIN DESTRA | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6740 | BISAGRA SILO IZDA | BIN LEFT HINGE | CERNIERA BIN SINISTRA | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6741 | U CIERRE LATERAL SILO (6741RB) | LATERAL PANEL | "U"CHIUSURA LATERALE BIN | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6742 | U CIERRE TRASERA B-500 (6742RB) | REAR PANEL | CHIUSURA POSTERIORE U B-500 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6743 | TIRANTE DELANTERO B-500 (6743RB) | FRONT BRACE | BANDA ANTERIORE B-500 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6744 | CARTELA CIERRE SUPERIOR SILO (6744CT) | TOP COVER BRACKET | PIASTRA CHIUSURA SUPERIORE BIN | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6745 | DEFLECTORA SILO B-500 (6745CT) | BIN DEFLECTOR | DEFLETTORE BIN B-500 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6748 | PUERTA SILO B-500 TERMINADA | BIN DOOR | PORTA BIN B-500 FINITA | 111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6749 | PATA INOX SILO M10 ITV1 (EP1XBXMNN) LEVELED ON 153mm | BIN LEG | PIEDINO INOX BIN M10 ITV1 (EP1XBXMNN) 153mm | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6753 | TORN. DIN 965 M-6X12 INOX | SCREW DIN 965 M-6X12 INOX | VITE DIN 965 M-6X12 INOX | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6769 | MANGUITO MIXTO REDUCIDO PLASTICO | REDUCED PLASTIC SLEEVE |  | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6815 | PERFIL RECT. 10X2 SILICONA NEGRA FDA 21.177.2600 | SILICONE PROTECTOR | PROFILO DIRITTO 10X2 SILICONE NERO FDA 21.177.2600 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6837 | REDUCTOR 123MR 50 RPM 220-50/60 7-123-141 | WATER REGULATOR 123 | RIDUTTORE 123MR 50 RPM 220-50 / 60 7-123-141 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6841 | SOPORTE EVAP. NGQ (CIEGO) | EVAPORATOR SUPPORT NGQ | SUPPORTO EVAP. NGQ (CHECCO) | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6843 | ENTRADA AGUA NGQ | WATER INLET NGQ | ENTRATA ACQUA NGQ | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6844 | SOPORTE MICRO BOYA NGQ | MICRO-FLOAT SUPPORT NGQ | SUPPORTO MICRO GALLEGIANTE NGQ | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6846 | SOPORTE MICROS VOLTEADOR NGQ | NGQ TURNING MICRO SUPPORT | SUPPORTO MICRO RIBALTAMENTO NGQ | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6847 | TAPA MICROS VOLTEADOR NGQ | NGQ TURNER MICRO COVER | COPERCHIO MICRO RIBALTAMENTO NGQ | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6848 | SOPORTE MOTOR AGITADOR NGQ | PADDLE MOTOR BRACKET NGQ | SUPPORTO MOTORE AGITATORE NGQ | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
6849 | TAPA MICRO SOPORTE AGITADOR NGQ | MICRO SUPPORT COVER FOR AGITATOR NGQ | COPERCHIO MICRO SUPPORTO AGITATORE NGQ | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6850 | PALA AGITADOR NGQ | PADDLE BLADE NGQ | PALA AGITATORE NGQ | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6904 | VALVULA NEV-202DXF (D-1.9) | HOT GAS VALVE - BODY | VALVOLA NEV-202DXF (D-1.9) | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6906 | BOBINA NEV-MOAJ502B1 ENGASTADA | HOT GAS VALVE - COIL | BOBINA NEV-MOAJ502B1 | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6981 | VALV AGUA LIBRE B/LIBRE B 220V/50-60HZ | WATER INLET VALVE B 220V/50-60HZ | ELETTROVALV ACQUA LIBERO B / LIBERO B 220V / 50-60HZ | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 5 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
7382 | VARILLA EJE PUERTA Q-DP20-30(347MM) | AXLE DOOR 20 | ASSE SPORTELLO Q20-30 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7383 | VARILLA EJE PUERTA Q34 DP55 (459MM) | AXLE DOOR 34 | ASSE SPORTELLO Q34 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7396 | VARILLA EJE PUERTA Q130C (789MM) | AXLE DOOR 130 | ASSE SPORTELLO Q130C (789MM) | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
7510 | CUBA STOCK NQ 20 TERMINADA (7510CO) | STOCKAGE BIN Q20 | VASCA DEPOSITO 20 | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7513 | CUBA STOCK NQ 34 TERMINADA (7513CO) | STORAGE BIN 50 | CUVA CONTENITORE NQ34 FINITA(7513CO) | 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7514 | CUBA STOCK NQ 6 TERMINADA (7514CO) | STORAGE BIN 60 | VASCA DEPOSITO 60 | 162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7515 | CUBA STOCK NQ 8 TERMINADA (7515CO) | STORAGE BIN 90 | VASCA DEPOSITO 90 | 219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
7516 | CUBA STOCK NGQ130 TERMINADA (7516CO) | STORAGE BIN 130 | CUVA CONTENITORE Q 130 FINITA(7516CO) | 257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | TAPPO IN GOMMA 9X45 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
7764 | CONECTOR INTERRUPTOR SX82CNT1 | SWITCH SX82CNT1 | CONNETTORE INTERRUTTORE SX82CNT1 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7984 | EVAPORADOR NGQ-20 TERMINADO | EVAPORATOR Q20 | EVAPORATORE Q-20 | 188 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7989 | EVAPORADOR NGQ30-40 TERMINADO | EVAPORATOR Q30-40 | EVAPORATORE Q30-40 | 236 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7998 | EVAPORADOR NGQ-50 TERMINADO | EVAPORATOR NGQ50 | EVAPORATORE NGQ-50 FINITO | 310 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8027 | EVAPORADOR NGQ-90 TERMINADO | EVAPORATOR NGQ-90 | EVAPORATORE NGQ-90 FINITO | 462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8032 | EVAPORADOR NGQ-130 TERMINADO | EVAPORATOR NGQ-130 | EVAPORATORE NGQ-130 FINITO | 810 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8056 | CUBIERTA NGQ20-40 (8056CT) | TOP PANEL Q20-40 | COPERCCHIO NGQ20-40 | 58 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8057 | LATERAL DERECHO NGQ-20 (8057CT) | RIGHT PANEL Q20 | LATO DESTRO NGQ-20 | 47 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8058 | LATERAL IZDO NGQ20 (8058CT) | LEFT PANEL Q20 | SINISTRA LATERALE Q20 | 47 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8059 | LATERAL DCHO NGQ30-40 (8059CT) | RIGHT PANEL Q30-40 | FIANCO DESTRO NGQ30-40 | 57 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8060 | LATERAL IZDO NGQ30-40 (8060CT) | LEFT PANEL Q30-40 | FIANCO SINISTRO NGQ30-40 | 57 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8061 | FRENTE NGQ-20 (8061CT) | FRONT PANEL NGQ20 | ANTERIORE NGQ-20 | 16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8062 | FRENTE NGQ 30-40 (8062CT) | FRONT PANEL NGQ3040 | ANTERIORE NGQ 30-40 | 19 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8063 | TRASERA NGQ 20 (8063CT) | REAR COVER Q20 | POSTERIORE NGQ 20 | 17 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8064 | TRASERA NGQ 30-40 (8064CT) | REAR COVER Q30-40 | POSTERIORE NGQ 30-40 | 22 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8071 | MOTOR VOLTEADOR NGQ 20-30-40 | CAM MOTOR NGQ203040 | MOTORIDUTTORE RIBALTAMENTO NGQ 20-30-40 | 231 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8074 | AGITADOR NGQ 20-40 | PADDLE Q20-40 | AGITATORE NGQ 20-40 | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8075 | BOYA NGQ MONTADA | FLOAT NGQ | GALLEGGIANTE NGQ MONTATO | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8079 | MICRO (2N)+PALANCA 153F R=24.3 | MICRO IW3 (2N) + LEVER | MICRO 83160366 IW3 (2N) + LEVA 153F R = 24.3 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8179 | BANCADA NGQ20-40 (8179CT) | CONDENSING UNIT BASENGQ20 40 | PIASTRA DI BASE NGQ20-40 | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8204 | PUERTA CORREDIZA NGQ-20-40 INOX | DOOR Q20-40 | SPORTELLO SCORREVOLE NGQ-20-40 INOX | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8217 | TIRANTE UNION SUPERIOR NGQ 20-40 (8217CT) | UPPER REINFORCEMENT Q20-40 | TIRANTE SUPERIORE Q20-40 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8327 | CONDENSADOR 9X3 (220X2.5) | CONDENSER 9X3 (220X2.5) | CONDENSATORE 9X3 (220X2,5) | 435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8412 | CUBA STOCK NGQ 30-40 | STOCK BIN NGQ30-40 | CUVA CONTENITORE NGQ 30-40 | 30 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8413 | CUBA STOCK NGQ 30-40 TERMINADA (8413CO) | STOCKAGE BIN Q30-40 | CUVA CONTENITORE NGQ 30-40 FINITA (8413CO) | 67 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0
8483 | COND.W (6V-DIAM.155) (+100mm) | WATER CONDENSER | COND.W (6V-DIAM. 155) (+ 100mm) | Consultar/Consult | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8487 | LATERAL DCHO NGQ50 (8487CT) | RIGHT PANEL NGQ50 | FIANCO DESTRO NGQ50 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8488 | LATERAL IZDO NGQ50 (8488CT) | LEFT PANEL NGQ50 | FIANCO SINISTRO NGQ50 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8489 | FRENTE NGQ50 (8489CT) | FRONT PANEL NGQ50 | ANTERIORE NGQ50 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8490 | TRASERA NGQ50 (8490CT) | REAR PANEL NGQ50 | POSTERIORE NGQ50 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8491 | CUBIERTA NGQ50 (8491CT) | TOP COVER NGQ50 | COPERCCHIO NGQ50 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8493 | PILAR ACOMETIDAS NGQ50-60 (8493CT) | SUPPORT FOR WATER SUPPLIES NGQ50-60 | PILASTRO COLLEGAMENTI NGQ50-60 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8495 | TIRANTE UNION SUPERIOR NGQ50 (8495CT) | UPPER REINFORCEMENT ROD NGQ50 | TIRANTE SUPERIORE NGQ50 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8497 | SOPORTE MOTOVOLTEADOR NGQ (8497RB) | CAM MOTOR SUPPORT NGQ | SUPPORTO MOTORE RIBALTAMENTO NGQ | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
8501 | PUENTE NGQ50 (8501CT) | SUPPORT BRIDGE NGQ50 | PONTE NGQ50 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8503 | AGITADOR NGQ50 | PADDLE NGQ50 | AGITATORE NGQ50 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8506 | PUERTA CORREDIZA NGQ50 INOX | SLIDING DOOR NGQ50 | SPORTELLO SCORREVOLE NGQ50 INOX | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8507 | MOTOR VOLTEADOR NGQ 50-130 MONTADO 220V | CAM MOTOR NGQ50-130 | MOTORIDUTTORE RIBALTAMENTO NGQ 50-130 MONTATO 220V | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
8516 | PUENTE NGQ60 (8516CT) | SUPPORT BRIDGE NGQ60 | PONTE NGQ60 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8517 | LATERAL DCHO NGQ60 (8517CT) | RIGHT PANEL NGQ60 | LATO LATERALE NGQ60 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8518 | LATERAL IZDO NGQ60 (8518CT) | LEFT PANEL NGQ60 | SINISTRA LATERALE NGQ60 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8519 | FRENTE NGQ60 (8519CT) | FRONT PANEL NGQ60 | ANTERIORE NGQ60 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8520 | TRASERA NGQ60 (8520CT) | REAR PANEL NGQ60 | POSTERIORE NGQ60 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8521 | CUBIERTA NGQ60 (8521CT) | TOP COVER NGQ60 | COPERCHIO NGQ60 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8523 | TIRANTE UNION SUPERIOR NGQ60 (8523RB) | UPPER REINFORCEMENT ROD NGQ60 | BRACCIALE UNIONE SUPERIORE NGQ60 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8524 | TIRANTE UNION SUPERIOR NGQ90 (8524RB) | UPPER REINFORCEMENT ROD NGQ90 | BRACCIALE UNIONE SUPERIORE NGQ90 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8525 | TIRANTE UNION SUPERIOR NGQ130 (8525RB) | UPPER REINFORCEMENT ROD NGQ130 | TIRANTE SUPERIORE NGQ130 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8529 | REFUERZO CABEZAL NGQ60 (8529CT) | HEAD PRODUCTION SUPPORT REINFORCEMENT | RINFORZO TESTA NGQ60 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8538 | PUERTA CORREDIZA NGQ60 INOX | SLIDING DOOR NGQ60 | PORTA SCORREVOLE NGQ60 INOX | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8539 | PUERTA CORREDIZA NGQ90 INOX | SLIDING DOOR NGQ90 | PORTA SCORREVOLE NGQ90 INOX | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8540 | PUERTA CORREDIZA NGQ130 INOX | SLIDING DOOR NGQ130 | SPORTELLO SCORREVOLE NGQ130 INOX | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8541 | AGITADOR NGQ60 | PADDLE NGQ60 | AGITATORE NGQ60 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8545 | AGITADOR NGQ90 | PADDLE NGQ90 | AGITATORE NGQ90 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8546 | AGITADOR NGQ130 | PADDLE NGQ130 | AGITATORE NGQ130 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
8552 | PUENTE NGQ90 (8552CT) | SUPPORT BRIDGE NGQ90 | PONTE NGQ90 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8555 | FRENTE NGQ90 (8555CT) | FRONT PANEL NGQ90 | ANTERIORE NGQ90 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8556 | TRASERA NGQ90 (8556CT) | REAR PANEL NGQ90 | POSTERIORE NGQ90 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8557 | TRASERA NGQ130 (8557CT) | REAR PANEL NGQ130 | POSTERIORE NGQ130 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8559 | CUBIERTA NGQ90 (8559CT) | TOP COVER NGQ90 | COPERCHIO NGQ90 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
8560 | CUBIERTA NGQ130 (8560CT) | TOP COVER NGQ130 | COPERCCHIO NGQ130 | 101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8563 | PILAR ACOMETIDAS NGQ90-130 (8563CT) | SUPPORT FOR WATER SUPPLIES NGQ90-130 | PILASTRO COLLEGAMENTI NGQ90-130 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
8573 | PUENTE NGQ130 (8573CT) | SUPPORT BRIDGE NGQ130 | PONTE NGQ130 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8681 | SUPLEMENTO EJE CUBA AGUA QUASAR CHAPA | SUPPLEMENTARY AXLE OF WATER TRAY | SUPPLEMENTO ASSE BACINELLA DI ACQUA QUASAR LAMIERA | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8718 | ETIQUETA LOGO ITV 90.3 X 30MM AL BF EFECTO CEPILLADO MARCA 777-095 |  |  | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8724 | SOPORTE EVAPORADOR DERECHO NGQ150 (8724RB) |  | SUPPORTO EVAPORATORE DESTRO NGQ150 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8725 | SOPORTE EVAPORADOR IZQUIERDO NGQ150 (8725RB) |  | SUPPORTO EVAPORATORE SINISTRO NGQ150 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8727 | EXPULSORA CUBITOS NGQ50 COMPLETA | ICE DEFLECTOR NGQ50 | SCIVOLLO CUBETTI NGQ50 COMPLETO | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8804 | BU-FLEX DESAGÜE 20/22 L. 3 MTS. RUBBER 20 |  | BU-FLEX TUBO DI USCITA 20/22 L. 3 MTS. GOMMA 20 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8897 | LATERAL DCHO NGQ150 (8897CT) |  | LATO LATERALE NGQ150 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8898 | LATERAL IZDO NGQ150 (8898CT) |  | SINISTRA LATERALE NGQ150 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8899 | FRENTE NGQ150 (8899CT) |  | ANTERIORE NGQ150 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8901 | CUBIERTA NGQ150 (8901CT) |  | COPERCHIO NGQ150 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8950 | TABIQUE SUPERIOR NGQ150 (8950CT) |  | TAVOLINO SUPERIORE NGQ150 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8951 | TABIQUE INFERIOR NGQ150 (8951CT) |  | BOTTOM TABIQUE NGQ150 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8960 | L REFUERZO NGQ150 (8960CT) |  | L RINFORZO NGQ150 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8971 | TUBO 1/4 GAS CALIENTE NGQ-130 | 1/4 HOT GAS EXIT TUBE 130 | TUBO 1/4 GAS CALDO NGQ-130 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8988 | TUBO 3/8 ASP NGQ90 | 1/4 HOT GAS EXIT TUBE 793 | TUBO 3/8 ASP NGQ90 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
30086 | SOBREPISO NGQ150 |  | NGQ150 OVERFLOOR | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
30640 | OMEGA CUBIERTA NGQ60 (30640CT) | REINFORCEMENT TOP COVER NG-50 | OMEGA COVER NGQ60 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31276 | REFRIGERANTE R452A |  |  | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31435 | ALETA DE TOPE Q 20-30-40 CORTADA (11) | STOP FLAP Q 20-30-40 CUT (11) | ALETTA TOP Q 20-30-40 TAGLIATA (11) | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31508 | MUELLE PARADA MAQUINA (0'9MM) (0302O0008) | STOP MACHINE SPRING | MOLLA FERMO MACCHINA (0'9MM) (0302O0008) | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | TELAIO GRUPPO 3 LUNGHEZZA 825-815-790-780 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32730 | CONDENSADOR 10X3 2V P230 T1/4 | AIR CONDENSER | CONDENSATORE 10X3 2V P230 T1/4 | 205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
32884 | RAMPA RECOGEAGUA CUBETA QUASAR (32884RB) | WATER COLLECTION RAMP QUASAR BUCKET | LATO NICH DESTRA | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
32905 | EXTENSION CUBETA RECOGE AGUA NGQ150 (32905RB) | TOP COVER NG40 | SUPPORTO SENSORE OTTICO SCALA | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
33203 | SOPORTE MOTOVOLTEADOR QUASAR (33203RB) |  |  | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
353B | SOPORTE MOTOR VOLTEADOR NGQ 20-40 | TURNING MOTOR SUPPORT NGQ 20-40 | SUPPORTO MOTORE RIBALTAMENTO NGQ 20-40 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4185A | REJILLA AIREACION NG-30 |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4186A | REJILLA AIREACION NG-55 |  |  | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
448A | FILTRO 18x60 1/4-1/4" C/T | FILTER 18x60 1/4-1/4 C/T | """FILTRO 18x60 1 / 4-1 / 4 """"C / T""" | 16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5200B | MOTOR VOLTEADOR QUASAR C/MICROS | CAM MOTOR | MOTORIDUTTORE RIBALTAMENTO | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6730A | LATERAL DCHO B-500-750-900 GRAPA (6730ACT) | RIGHT SIDE B-500-750-900 |  | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6731A | LATERAL IZDO B-500-750-900 GRAPA (6731ACT) | LEFT SIDE B-500-750-900 |  | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6733A | TRASERA SILO B-500 (6733ACT) | BACK BIN B-500 |  | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6752A | CUBA SILO B-500 AISLADA (6684) | STOCK BIN |  | 1047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6796A | TORNILLO MOLETEADO M-5X23 INOX | SCREW STAINLESS M-5X23 |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
7476E | MINI PRESOSTATO 16-18 BAR | CONDENSATION PRESSURE SWITCH 16-18 | MINI PRESSOSTATO NSDHF-EW15001 16-18 BAR | 28 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7885A | REJILLA AIREACION NGQ 20-40 | FRONT LOUVER Q20-40 | GRIGLIA ANTERIORE NGQ 20-40 | 26 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8055A | PILAR ACOMETIDAS NGQ20-40 (8055ACT) | SUPPORT FOR WATER SUPPLIES | PILASTRO COLLEGAMENTI NGQ20-40 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8553B | LATERAL DCHO NGQ90-130 R290 (8553BCT) | RIGHT PANEL NGQ90 130 | FIANCO DESTRO NGQ90-130 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
8554B | LATERAL IZDO NGQ90-130 R290 (8554BCT) | LEFT PANEL NGQ90 130 | FIANCO SINISTRO NGQ90-130 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
8558U | FRENTE NGQ130 R290 (8558UCT) | FRONT PANEL NGQ130 | ANTERIORE NGQ130 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
8575A | INTERCAMBIADOR HX1/2 0.37KW 1/2X1/4 | EXCHANGER PACKLESS HXR-25 1/2X1/4 | SCAMBIATORE HXR-25 1 / 2X1 / 4 SENZA PACCHETTO (390220) | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1