## STELLA
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | STELLA 25 A R290 220/50 | STELLA 25 W R290 220/50 | STELLA 35 A R290 220/50 | STELLA 35 W R290 220/50 | STELLA 45 A R290 220/50 | STELLA 45 W R290 220/50 | STELLA 65 A R290 220/50 | STELLA 65 W R290 220/50 | STELLA 85 A R290 220/50
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
853 | PUERTA INYECCION NG20 | INJECTIN DOOR NG20 | PORTA | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
985 | PALET NG-20 | PALLET NG20 | PALLET NG-20 | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4350 | RESTRICTOR BOMBA NG-20 DELRIN D6 | WATER PUMP RESTRICTOR NG20 | POMPA RESTRICTOR NG-20 DELRIN D6 | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4558 | PALET ECO 30-40 ECP 32-42 | PALLET 30-40 | PALLET ECO 30-40 ECP 32-42 | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4561 | PALET ECO60 ECP52 | PALLET 60 | PALLET ECO60 ECP52 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4727 | TUBO IMPULSION BOMBA ECP 72 -480MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 80 | TUBO IMPULSO POMPA | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
5016 | COND.W (4V) 2.7M - REP=5242 | WATER CONDENSER | COND.W (4V) 2.7M - REP = 5242 | Consultar/Consult | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0
5020 | COND.W (4V-DIAM.155) (REP=5224) | SPARE 5224 - CONDENSER W | COND.W (4V-DIAM. 155) (REP = 5224) | Consultar/Consult | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31306 | COMPRESOR NEU6217U (14.3CC) CSIR 220-240/50 R290 | COMPRESSOR (14.3CC) 220-240/50 R290 | COMPRESSORE NEU6217U (14.3CC) CSIR 220-240 / 50 R290 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
32416 | INTERRUPTOR A1 NEGRO 10A AT | MAIN SWITCH | INTERRUTTORE A1 NERO 10A AT | Consultar/Consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33033 | RESTRICTOR 1.5L/MIN VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33709 | TAPA EVAPORADOR ECO 80 | EVAPORATOR COVER 80 | COPERTA EVAPORATORE | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
33892 | CORTE BURLETE TECNOLEN 510MM |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
34588 | MONT.ENT.W ECO40 W 220V |  |  | Consultar/Consult | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
35784 | CUADRO Y CABL. NG20 220V ELECT. R290 (ATEX) 2.0 |  |  | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1934A | PILAR ACOMETIDA NG-20 DOBLE ENTR. W |  |  | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1934ACT | PILAR ACOMETIDA NG-20 DOBLE ENTR. W |  |  | Consultar/Consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32603A | CABLEADO ECO 80 ELECTRONICA ATEX |  | CABLAGGIO ELETTRONICO | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4123A | PILAR ACOMETIDAS ECO 50 DOBL ENT. W (4123ACT) |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4123ACT | PILAR ACOMETIDAS ECO 50 DOBL ENT. W |  |  | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4138U | TRASERA ECO 70 R290 (4138UCT) | REAR COVER | ECO POSTERIORE 70 | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
486A | CONDENSADOR 8X3 C/B | AIR CONDENSER 8X3 | CONDENSATORE Q4V 8x3 C/B | Consultar/Consult | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
7156A | EVAPORADOR 30GR NG70/48 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
7400A | EVAPORADOR 30GR NG55/36 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
7423B | EVAPORADOR 30GR NG40/24 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | Consultar/Consult | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
7461B | CUBA STOCK ECO 50 - B TERMINADA (7461BCO) | BIN | BASCA STOCAGGIO ECO 50 (7461BCO) | Consultar/Consult | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
355 | RESORTE ENT AGUA Q20-30-40 0.8M/M | WATER INLET RESORT | MOLLA ENTR. AQUA 20-30-40 0.8mm | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
373 | PASACABLES 610-G | WIRE GUIDING 610-G | PASSACAVO 610-G | 2 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
993 | NDP20 TU CONEXION COLECTOR -60MM | CONNECTING TUBE | MANICOTTO CONNESSIONE RAMPA | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4276 | PIVOTE PUERTA ECO | DOOR PIVOT | PERNO DELLA PORTA ECO | 2 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30466 | ARANDELA 36X23.5X0.7 INOX MATE | WASHER 36*23 | RONDELLA 36X23.5X0.7 INOX MATE | 2 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | VITE DIN 7981 4.8*12.7 INOX A2 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | FASCETTA PEER TUBO RICH 101 (11.9-13.5) | 3 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
1905 | ARANDELA DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | WASHER DIN 125 M-6 | Arand. DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1
2432 | REMACHE GALV. M-5X12 HEX.CAB.REDUC. | RIVET | RIVETTO ZINC. M-5X12 HEX.CAB.REDUC. (PSZROH-0525-250) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4098 | TUBO SILICONA 55 MM | SILICON TUBE 60 MM | TUBO SILICONE | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4144 | PATA NIVELADOR PMDA 40 M-10x22 | LEGS | PIEDE LIVELLAMENTO PMDA 40 M-10X22 | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
4147 | TUERCA DIN 934 M-10 ZINC | NUT DIN 934 M-10 ZINC | PIEDINI | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
4312 | OMEGA REFUERZO BANCADA ECP 52 (4312CT) | REINFORCEMENT OMEGA FOR BEDPLATE | OMEGA PIASTRA DI BASE ECP 52 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4496 | JUNTA TORICA 17X2 BLANCA FDA CERTIFICADA | O-RING 17X2 SILICONE | GUARNIZIONE O-RING BIANCA 17x2 FDA CERTIFICATA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4521 | BANDEJA BOMBA ECP-ECO-NG | WATER PUMP TRAY | BACCINELLA POMPA ECP-ECO-NG | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4526 | RESTRICTOR 1L/MIN AZUL VALV.ENT.W (1005) | WATER REGULATOR 1L/MIN AZUL VALV.ENT.W (1005) | RESTRICTOR 1L / MIN BLUE VALV.ENT.W (1005) | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
4613 | SOPORTE BOMBA ECP 18-52 (4613CT) | WATER PUMP SUPPORT ECO SM. | SUPPORTO POMPA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4624 | TUBO TERMOSTATO ECP 32/42 | THERMOSTAT TUBE | TUBO TERMOSTATO ECP 32/42 | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4744 | CORTE TUBO EPDM NEGRO 180 MM | BLACK PIPE 175MM | TUBO EPDM NERO DA TAGLIO 180 MM | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6017 | MACHO DESAGUE ECO | MALE DRAINAGE | SCARICO | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6018 | RACOR DESAGUE RECTO ECO | RIGHT DRAIN RACCORD | RACCORDO SCARICO RECTO ECO | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31 | TUBO CAPILAR 1 X 2 (44.8M=1K)(0.02232KM) | CAPILLARY TUBE 1 X 2 | TUBO CAPILLARE 1 X 2 (47.55 M = 1 K) (0.02103 KM) | 5 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
165 | DESAGÜE CUBA | DRAIN TRAY | SCARICO CUVA | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
526 | INYECTOR PLANO DP | DP SPRAY NOZZLE | SPRUZZATORE PIANO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
666 | REMATE TUBO TERMOSTATO | THERMOSTAT JOINT | FISSAGGIO TUBO TERMOSTATO | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | SCARICO CUVA BIANCO | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
959 | BARRA PUERTA NG 20 -312MM- | DOOR BAR NG20 -312 MM- | BARRA PORTA NG 20 -312MM- | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1212 | LAMA CORTINA INTERIOR NG20-ECO | INTERNAL FLAP | BANDIERINA INTERNA NG20-ECO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1213 | LAMA CORTINA EXTERIOR NG20-ECO | EXTERNAL FLAP | BANDIERINA ESTERNA NG20-ECO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3586 | CORTE MANGUERA 10x16 800mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
4501 | RACOR 90º ECO | COUPLING 90º ECO | RACORD | 5 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4713 | TUBO BOMBA EPDM NEGRO ECO 35/45 -320- | WATER PUMP DISCHARGE TUBE ECO 35/45 | TUBO IMPULSO POMPA | 5 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4724 | TUBO IMPULSION BOMBA 60-80-100 -450MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 60 | TUBO IMPULSO POMPA | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4726 | TUBO DESAGUE ECO 60-80 -350MM EPDM NEGRO- | DRAIN PIPE ECO 60 | TUBO SCARICO | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
6021 | TUBO DESAGUE STOCK ECO | STOCK BIN DRAIN TUBE | TUBO SCARICO STOCK | 5 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 5 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
31544 | CLIP PLACA CB SPT-DUAL LOCK-NATURAL (DLCBS8-3-01) | ELECTRONIC BOARD CLIP | CLIP PLACCA CB SPT-DUAL LOCK-NATURAEL (DLCBS8-3-01) | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32174 | CODO ESPIGA D10.5 | WATER INLET PIPE | RACCORDO A GOMITO D10.5 | 5 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32415 | PILOTO LED AZUL 220V (SX28H15XAF000XX) EVE00219 | BLUE LED | PILOTA LED BLU 220V (SX28H15XAF000XX) EVE00219 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33890 | CLIP SONDA NTC 6X10 | PROBE CLIP NTC 6X10 |  | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
636 | TUBO CAPILAR 0'8 x 2 (0.02491 KM) | CAPILLARY TUBE 0.8 X 2 | TUBO CAPILLARE 0'8 x 2 (0.025KM) | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2171 | PATA SAB 20 | LEG (SHORT) | PIEDE PICCOLO (20) | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2834 | CORTE TUBO CRISTAL 7-10 650MM | CRYSTAL TUBE 7-10 650 MM | TUBO DI CRISTALLO TAGLIATO 7-10 650MM | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3634 | CURVA EVAP.P (6500 CR010X) 3/8"x22,9x24x0,5 | EVAPORATOR PART.(6500 CR010X) 3/8x22,9x24x0,5 | """CURVA EVAP.P (6500 CR010X) 3/8 """"x22.9x24x0.5""" | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
4136 | SOPORTE TRASERO ECP 72 (4136CT) | REAR SUPPORT ECO 80 | SUPPORTO TRASERO | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4272 | GUIA PUERTA - REMATE BOCA ECO DCHO V.1 | RIGHT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO DCHO V.1 | 6 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | TAPPO IN GOMMA 9X45 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32442 | EMBELLECEDOR INTERRUPTOR ATEX ECO | MAIN SWITCH SUPPORT | Interruttore Trim + Led | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8358A | SOPORTE CORTINA NG-20 | CURTAIN SUPPORT NG-20 | SUPPORTO TENDA NG-20 | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 7 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4502 | TUERCA RACOR 90º ECO | COUPLING NUT 90º ECO | DADO RACCORDO 90ª ECO | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4503 | JUNTA RACOR 90º INT22x EXT35x2(-0+0,2)SILICONA ALIMENTARIA | JOINT COUPLING 90º ECO SILICONE | GUARNIZONE GIUNTO 90º,35x22x2,SILICONA ALIMENTARE | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4505 | FILTRO RACOR 90º ECO | FILTER COUPLING 90º ECO 35-120 | FILTRO | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4627 | TUBO TERMOSTATO | THERMOSTAT TUBE | TUBO TERMOSTATO | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
4714 | TUBO DESAGÜE C/ STOCK ECO 35/45 -260MM EPDM NEGRO- | OVERFLOW PIPE | TUBO SCARICO | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4755 | JUNTA EPDM DIA 30 INTERIOR ESP.2 BLANCA | JOINT EPDM | GUARNIZIONE BIANCA EPDM D 30x2 | 7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30628 | JUNTA EPDM NEGRA D9.9 x D18.8 x 3.1 mm | JOINT EPDM NEGRA D9.9 x D18.8 x 3.1 mm | GUARNIZIONE EPDM NERA D9,9 x P18,8 x 3,1 mm | 7 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33425 | SONDA NTC INOX 6X30 1.5M C/CONECTOR | TEMPERATURE PROBE | SONDA NTC INOX 6X30 1,5M CON CONETTORE | 7 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | TUBO CRISTAL 4-6 C0403 / CL / 0030 / CD | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
580 | FILTRO MALLA INOX 60MM | NET FILTER | FILTRO RETE | 8 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
806 | TUBO CRISTAL 15-20 ALIMENTARIO TUBCLAIR | PIPE 15X20 PUMP-DISTRIBUTOR | TUBO CRISTAL 15.20PER ALIMENTI TUBCLAIR | 8 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
976 | CLIP EXPULSORA | EXPELLER CLIP | CLIP SCIVOLLO | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4273 | GUIA PUERTA - REMATE BOCA ECO IZDO V.1 | LEFT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO SINISTRA V.1 | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7896 | DESHIDRATADOR 20 GR 1E 1S 1/4" C/CURVA | FILTER DRIER | "ESSICCATORE 20 GR 1E 1S 1/4"" CON CURVA" | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8359 | EJE CORTINA ECO 40 L=375 | CURTAIN AXE 40 L | ASSE TENDA ECO 40 L = 375 | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31005 | CASQUILLO FIJACION GUIA PUERTA ECO | ECO DOOR GUIDE FIXING CAP | TAPPO DI FISSAGGIO GUIA PUERTA ECO | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31271 | LAMA EXTERIOR DOBLE CORTA | DOUBLE SHORT EXTERNAL LATTICE | BANDIERINA EXTERNA DOPPIA PICCOLA | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32175 | BOQUILLA ENTRADA AGUA ECO | WATER INLET | UGELLO INGRESSO ACQUA ECO | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31823A | BASE CUADRO ELECTRICO ECO R290 ATEX (31823ACT) | ELECTRIC BOX SUPPORT | BASE SCATOLA ELETTRICA ECO R290 | 8 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
805 | RESTRICTOR 8MM | WATER FLOW RESTRICTOR 8MM | RESTRICTORE 8mm | 9 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
2752 | NG-20 TU DESAGUE -335MM TU CRISTAL 20-25- | DRAINING TUBE NG20 335 MM | NG-20 IL TUO SCARICO -335MM IL TUO CRISTALLO 20-25- | 9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4425 | DESAGÜE REBOSADERO NG | DRAIN TUBE NG | TROPPOPIENO SCARICO NG | 9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4427 | TAPA REBOSADERO NG | OVERFLOW PIPE CAP | COPERCHIO TROPPO PIENO NG | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5230 | TUBO TERMOSTATO INOX 320MM NG20 | THERMOSTAT TUBE INOX 320 MM NG20 | TUBO TERMOSTATO INOX 320MM NG20 | 9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8996 | SUJECION CUBIERTA ECO | TOP COVER FASTENING | MORSETTO COPERTO ECO | 9 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32645 | TUBO 3/8 U/C - REDUCIDO | TUBE 3/8 U/C | ASPIRAZIONE R290 ECO45 50 HZ | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
364 | TUBO CRISTAL 20-25 ALIMENTARIO | GLASS TUBE 20-25 | TUBO CRISTAL ALIMENTARE 20-25 TUBCLAIR | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
8176 | SOPORTE CORTINA ECO 40 PL. | CURTAIN SUPPORT 40 | SUPPORTO TENDA ECO 40 PL. | 10 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31513 | PERFIL 20X10 (L=45) ADHESIVADO 1C SILICONA BLANCO ROTO DUREZA 10º SH+-5 | PROFILE 20X10 (L=45) ADHESIVE 1C SILICONE OFF WHITE HARDNESS 10º SH+-5 | PROFILO 20X10 (L = 45) ADESIVO 1C SILICONE BIANCO DUREZZA ROTTA 10º SH + -5 | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32523 | SOPORTE INTERRUPTOR ATEX ECO (32523CT) | SWITCH SUPPORT PANEL ECO | SUPPORTO INTERRUTTORE | 10 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8177 | SOPORTE CORTINA ECO 60 PL. | CURTAIN SUPPORT 60 | SUPPORTO TENDA ECO 60 PL | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1432 | TAPA EVAP. NG 20 | TOP COVER EVAPORATOR NG-20 | COPERTURA EVAP. GN 20 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2189 | TUBO DESAGUE STOCK NG-20 | DRAINING TUBE 20 | STOCK NG-20 TUBO DI SCARICO | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4426 | REBOSADERO NIVEL NG | OVERFLOW PIPE | TROPPO PIENO NG | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6982 | VALV AGUA 0.8 B 220/50-60 | WATER VALVE 0.8 B 220/50-60 | VALV WATER 0,8 B 220 / 50-60 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8830 | TUBO ASPIRACION BOMBA ECO 60 (L450) | SUCTION TUBE OF PUMP 60 | TUBO ASPIRAZIONE POMPA ECO 60 (L450) | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
31746 | PASACABLES D20 (30007 GROM OPEN 20X1/16) | WIRE HOLE | PASSACAVI D20 (30007 PASS. APERTO 20X1/16) | 12 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 13 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1017 | CHAPA INOX PUERTA NG20 (1017CT) | TOP PANEL 20-30 | PORTA IN ACCIAIO INOX NG20 | 13 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4961 | TUBO ASPIRACION BOMBA NG20-30 | WATER PUMP SUCTION TUBE | TUBO ASPIRAZIONE POMPA NG20-30 | 13 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8178 | SOPORTE CORTINA ECO 80 PL. | CURTAIN SUPPORT 80 | SUPPORTO TENDA ECO 80 PL | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
30172 | OMEGA REFUERZO CUBIERTA ECO70 (30172CT) | REINFORCEMENT TOP COVER 70 | RINFORZO OMEGA COVERED ECO70 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
31571A | TAPA CUADRO ELÉCTRICO R290 ATEX (31571ACT) | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA R290 | 13 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5223 | CORTINA GALA NG 20 | CURTAIN NG20 | TENDA GALA NG 20 | 15 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6929 | CAPILAR 1.2 X 2.2 X 2400 | CAPILLARY TUBE 1,2*2,2 | CAPILLARE 1,2 X 2,2 X 2400 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8831 | TUBO ASPIRACION BOMBA ECO 110 (L500) | SUCTION TUBE OF PUMP 110 | TUBO ASPIRAZIONE POMPA ECO 110 (L500) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
31444 | DISTRIBUIDOR DES-GC C/PRESOSTATO | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4268A | PUERTA ECO 40 REFORZADAS VIP | DOOR ECO 35/45 | PORTA | 15 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
8905A | REJILLA EXPULSORA VARILLAS ECO50 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO50 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
3985 | CAPILAR CORTE -2000- 2X0.8 | CAPILLARY TUBE 2 X 0.8 | CAPILLARE DA TAGLIO -2000- 2X0.8 | 16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8829 | TUBO ASPIRACION BOMBA ECO 30-40 (L320) | SUCTION TUBE OF PUMP 30 40 | TUBO ASPIRAZIONE POMPA ECO 30-40 (L320) | 16 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
448A | FILTRO 18x60 1/4-1/4" C/T | FILTER 18x60 1/4-1/4 C/T | """FILTRO 18x60 1 / 4-1 / 4 """"C / T""" | 16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8906A | REJILLA EXPULSORA VARILLAS ECO70 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO70 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6856 | DESHIDRATADOR 12GR SM2/12 GR.12D19X103 UNIV. 1/4-2.5 | DRIER 12GR SM2/12 GR.12D19X103 UNIV. 1/4-2.5 | DISIDRATATORE 12GR SM2 / 12 GR.12D19X103 UNIV. 1 / 4-2.5 | 17 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 17 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4830 | CHAPA PUERTA ECO 40 INOX (4830CT) | DOOR PLATE ECO 45 | LAMIERA PUERTA ECO 40 INOX | 18 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32644 | SONDA NTC INOX 6X30 2.5M C/CONECTOR (AX2426/02500) | TEMPERATURE PROBE | SONDA NTC INOX 6X30 2,5M CON CONETTORE(AX2426/ 02500) | 19 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4433A | TAPA EVAP. NG-ECO 40 | EVAPORATOR COVER | COPERCHIO EVAP. NG 40 | 19 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
2297A | TAPA EVAP. NG 55 | EVAPORATOR COVER | COPERCHIO EVAP. NG 55 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8904C | REJILLA EXPULSORA VARILLAS ECO40 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO40 | 21 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | BOBINA YB09 230 / 50-60Hz 304398 (5173) | 23 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6904 | VALVULA NEV-202DXF (D-1.9) | HOT GAS VALVE - BODY | VALVOLA NEV-202DXF (D-1.9) | 23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6906 | BOBINA NEV-MOAJ502B1 ENGASTADA | HOT GAS VALVE - COIL | BOBINA NEV-MOAJ502B1 | 23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31530 | ASPIRACION NDP20 220-50 R290 | SUCTION NDP20 220-50 R290 | ASPIRAZIONE NDP20 220-50 R290 | 23 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4269A | PUERTA ECO 60 | DOOR ECO 60 | PORTA | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4562 | PALET ECO80 ECP72 | PALLET 80 | PALLET ECO80 ECP72 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
31758 | TERMOSTATO PARO (R290) | BIN THERMOSTAT | TERMOSTATO CONTENITORE K50B XXXX (R290) | 29 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4270A | PUERTA ECO 70/80 | DOOR ECO 80 | PORTA | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
31114 | REJILLA EXPULSORA NG20 INY. | CUBE SLIDE GRILL 20 (WHITE) | GRIGLIA ESPULSIVA NG20 INY. | 30 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8364A | MONTAJE CORTINA ECO-80 | CURTAIN ASSEMBLY ECO 80 | SUPPORTO TENDA ECO-80 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | BOBINA GAS CALDO 220V-50/60HZ | 31 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8363 | MONTAJE CORTINA ECO-60 | CURTAIN ASSEMBLY ECO 60 | SUPPORTO TENDA ECO-60 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
1794 | TRASERA NG-20 (1794CT) | REAR SIDE NG20 | RETRO | 32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | MOTOVENTILATORE 5 W+PIE H52 220/50 | 35 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7454 | COLECTOR ECO 40(6DUCHAS)TERM.(370) | SPRAY BAR IT 45 | COLLECTOR 6 | 35 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31660E | PRESOSTATO (25-20 BAR) R290 | HIGH PRESSURE SWITCH | PRESSOSTATO NSDHA 12B00300 (25-20 BAR) R290 | 35 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8362 | MONTAJE CORTINA ECO 40 | CURTAIN ASSEMBLY ECO 40 | SUPPORTO TENDA ECO 40 | 36 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31160E | PRESOSTATO (11.5-13.5 BAR) R290 | FAN CONTROL PRESSURE SWITCH | PRESSOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | 36 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4832 | CHAPA PUERTA ECO 70/80 INOX (4832CT) | DOOR PLATE ECO 80 | COPERTURA PORTA ECO 70/80 INOX | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
7333 | &COLECTOR DP-20-30-40 TERMINADO(287) | WATER DISTRIBUTOR DP | DISTRIBUTORE ACQUA DP | 38 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7455 | COLECTOR ECO 50(9DUCHAS)TERM.(448) | SPRAY BAR ECO 60 | COLLECTOR 9 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
1925 | CUBIERTA NG-20 (1925CT) | TOP COVER NG-20 | COPERTA | 41 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7456 | COLECTOR ECO 70(12DUCHAS)TERM.(578) | SPRAY BAR ECO 80 | COLLECTOR 12 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4831 | CHAPA PUERTA ECO 50 INOX (4831CT) | DOOR PLATE ECO 60 | COPERTA PORTA | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4819V1 | CUBIERTA ECO 50 INOX (4819V1CT) | INOX COVER 50 | COPERTURA INOX ECO 50 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
2086UA | FRENTE REJILLA INOX ECO 30-40 R290 (ATEX) (2086UACT) | FRONT PANEL | GRIGLIA ANTERIORE ECO INOX 30-40 R290 | 51 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4818V2 | CUBIERTA ECO 40 INOX (4818V2CT) |  |  | 51 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | VALV.PARKER127 CLS 2.5 | 52 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31557B | CABLEADO ECO ELECTRONICA ATEX |  | CABLAGGIO ELETTRONICO | 56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
4108U | TRASERA ECO 30/40 R290 (4108UCT) | REAR COVER | POSTERIORE EC0 30/40 R290 | 56 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
2088UA | FRENTE REJILLA ECO DELTA INOX 60 R290 (ATEX) (2088UACT) | FRONT PANEL | GRIGLIA ANTERIORE ECO DELTA INOX 60 R290 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4769 | BOMBA DPN25-347 NSF 220/50Hz | WATER PUMP 220V/50HZ | POMPA DPN25-347 NSF 220/50Hz | 58 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4124U | TRASERA ECO 52 R290 (4124UCT) | REAR COVER | ECP POSTERIORE 52 R290 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
1327 | REFUERZO DELANTERO NG-20 | FRONTAL SUPPORT NG-20 | SOSTEGNO | 69 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4814 | LATERAL ECO INOX 70 DCHO (4814CT) | RIGHT PANEL ECO 80 | FIANCO DESTRO | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4815 | LATERAL ECO INOX 70 IZDO (4815CT) | LEFT PANEL ECO 80 | FIANCO SINISTRA | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2089U | FRENTE REJILLA ECO DELTA INOX 80 R290 (ATEX) (2089UCT) | FRONT GRILL | GRIGLIA FRONTALE | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2294 | LATERAL DCHO NG-20 (2294CT) | RIGHT PANEL NG20 | FIANCO DESTRO | 79 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2295 | LATERAL IZDO NG-20 (2295CT) | LEFT PANEL NG20 | FIANCO SINISTRO | 79 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4810 | LATERAL ECO INOX 40 DCHO (4810CT) | RIGHT PANEL ECO 40 | FIANCO DESTRO | 84 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
4811 | LATERAL ECO INOX 40 IZDO (4811CT) | LEFT PANEL ECO 40 | FIANCO SINISTRA | 84 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
6907A | CONDENSADOR 8X3 NG-20 | SPARE - CONDENSER 8*3 | CONDENSATORE 8X3 NG-20 | 88 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4820V1 | CUBIERTA ECO 70 INOX (4820V1CT) | INOX COVER 70 | COPERTURA INOX ECO 70 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8143E | PLACA CONTROL ELECTRONICA 220V/50-60HZ | ELECTRONIC BOARD 220V/50-60HZ | PLACA ELETTRONICA CUBETTI / SPIKA 220V / 50-60HZ (V / S CSPK05) 02.52.0441.R2 EX | 102 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4812 | LATERAL ECO INOX 50 DCHO (4812CT) | RIGHT PANEL ECO 60 | FIANCO DESTRO | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
4813 | LATERAL ECO INOX 50 IZDO (4813CT) | LEFT PANEL ECO 60 | FIANCO SINISTRA | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
8687 | BOMBA DPS35 - 058N 220-240V / 50HZ / 40W | PUMP DPS35 - 058N 220-240V / 50HZ | POMPA DPS35 - 058N 220-240V / 50HZ / 40W | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
31556B | CUADRO Y CABL. ECO ELECTRONICA ATEX | ELECTRONIC BOX AND CABL ECO ATEX | TABELLA E CAVO. ECO ELECTRONICA | 157 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0
7503 | CUBA STOCK NG20 BLANCA TERMINADA | STOCK BIN NG20 | STOCK BASCA NG20 BIANCO FINITO (7503CO) | 158 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32634 | CUADRO Y CABL. ECO 80 220V ELECTRONICA ATEX | ELECTRONIC BOX AND CABL. ECO 80 ATEX | TABELLA E CAVO. ECO ELECTRONICA | 170 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6921 | EVAPORADOR 16GR ALFA NG20/18 1S TERMINADO | EVAPORATOR FOR ALFA NG20/55 | EVAPORATORE 16GR ALFA NG20 / 18 1S FINITO | 171 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
487 | CONDENSADOR Q6V 8X4 C/B | AIR CONDENSER 8X4 | CONDENSATORE Q6V 8X4 C/B | 182 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
32251 | CONDENSADOR 9X4 2V T1/4 | AIR CONDENSER | CONDENSATORE 9X4 2V T1/4 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
7460B | CUBA STOCK ECO 40 TERMINADA (7460BCO) | BIN ECO 40 | BASCA STOCAGGIO ECO 40 (7460BCO) | 218 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
33302 | COMPRESOR EMX6181U (6.92CC) CSIR 220-240/50-60 R290 | COMPRESSOR (7.28CC) 220-240/50 R290 | COMPRESSORE (7.28CC) 220-240/50 R290 | 254 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
7462B | CUBA STOCK ECO 70 - B TERMINADA (7462BCO) | STOCK BIN ECO 80 | VASCA STOCAGIO | 264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
33303 | COMPRESOR EMX6210U (9.04CC) CSIR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE NEU6210U (8.78CC) CSIR 220-240 / 50 R290 | 274 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0